www.garyklinka.com 

Page 52 of 53

Qualifier- SPS 305 Licensing Quiz-Dwelling Contractor Qualifier
Instructions:                                                                                          

1. Print these pages…..all reference materials are included.

2. Review and answer the simple questions in each mini section. 

3. Circle the correct answers and transfer them to the answer sheets below.

4. Page down to the last page for the verification forms, answer sheets and mailing instructions. 

This 6 hour course is approved for each of the following:



Fees: $50


1. Dwelling Contractor Qualifier Certification 
2. UDC Construction Inspector 

3. Initial Qualifier-Dwelling Contractor Qualifier Certification (part 1 or half of this course)

4. Manufactured Home Installer 
Live Support at 920-381-6714 or tmklinka@hotmail.com 
---------------------------------------------------------------------------------------------------------------------

SPS 305-Use definitions to answer questions 1-21 below

SPS 305.003 Definitions. In this chapter:

(1) “Approved" means accepted by the department.

(2) “ASME" means American society of mechanical engineers.

(3) “Automatic fire sprinkler contractor" has the meaning specified under s. 145.01 (1), Stats.

Note: Under section 145.01 (1), Stats., “automatic fire sprinkler contractor" means any individual, firm or corporation who has paid the annual license fee and obtained a license to conduct a business in the design, installation, maintenance or repair of automatic fire sprinkler systems.

(4) “Automatic fire sprinkler system" has the meaning specified under s. 145.01 (2), Stats.

Note: Under s. 145.01 (2), Stats., “automatic fire sprinkler system", for fire protection purposes, means an integrated system of underground and overhead piping designed in accordance with fire protection engineering standards. The system includes a suitable water supply, such as a gravity tank, fire pump, reservoir or pressure tank or connection beginning at the supply side of an approved gate valve located at or near the property line where the pipe or piping system provides water used exclusively for fire protection and related appurtenances and to standpipes connected to automatic sprinkler systems. The portion of the sprinkler system above ground is a network of specially sized or hydraulically designed piping installed in a building, structure or area, generally overhead, and to which sprinklers are connected in a systematic pattern. The system includes a controlling valve and a device for actuating an alarm when the system is in operation. The system is usually activated by heat from a fire and discharges water over the fire area.

(5) “Automatic fire sprinkler system apprentice" has the meaning specified under s. 145.01 (3), Stats.

Note: Under s. 145.01 (3), Stats., “automatic fire sprinkler system apprentice" means any person other than an automatic fire sprinkler system contractor or a journeyman automatic fire sprinkler system fitter who is engaged in learning and assisting in the installation of automatic fire sprinkler systems and who is indentured under ch. 106, Stats.

(6) “Blasting" means any method of loosening, moving or shattering masses of solid matter by use of an explosive.

(7) “Blasting operation" means any enterprise or activity involving blasting.

(8) “Branch" means an office, other than the main business office, involved in the sales of manufactured homes that advertises as a sales location, displays new or used homes, takes sales calls, is staffed by licensed salespersons, has signage of a licensed dealer, and accepts offers or contracts on manufactured homes.

(9) “Broker" means a manufactured home dealer who has no sales lot, no inventory and no ownership interest in the manufactured homes being sold.

(10) “Building permit" means an official document or certificate granting permission to perform construction or erosion control work, except for electrical, plumbing or HVAC, on a one- or 2-family dwelling.

(11) “Business establishment" means any industrial or commercial organization or enterprise, including but not limited to a proprietorship, partnership, firm, business trust, joint venture, syndicate, corporation or association.

(12) “Cash price" means the manufactured home dealer asking price including dealer installed options and accessories and additional dealer mark-up, profit and transportation charges, minus the dollar value of cash discounts.

(13) “Cathodic protection tester" means a person who demonstrates an understanding of the principles and measurements of all common types of cathodic protection systems as applied to buried or submerged metal piping systems and metal tanks.

(14) “Conflict of interest" means a certified inspector inspecting work in which the inspector or the inspector's employer, other than the state or a municipality, has participated or has a monetary or personal interest.

(15) “Conveyance" means the following types of devices, examples: Dumbwaiter, Elevator, Escalator, Freight elevator.
(16) “Corrosion expert" means a person who is qualified to engage in the practice of corrosion control on buried or submerged metal piping systems and metal tanks by reason of thorough knowledge of the physical sciences and the principles of engineering and mathematics acquired by a professional education and related practical experience.

(17) “Damage" means defects caused by reasons other than normal wear through home age and usage.

(18) “Department" means the department of safety and professional services.

(19) “Direct supervision" means to assume the responsibility of an activity of others and its results by providing oversight and guidance at the site where the activity is being conducted.

(20) “Dwelling contractor" means any person, firm or corporation engaged in the business of performing construction or erosion control work on a one- or 2- family dwelling.

Note: Pursuant to s. 101.654 (1) (b), Stats., “dwelling contractor" does not include an owner of a dwelling who resides or will reside in the dwelling.


1.

 means the manufactured home dealer asking price including dealer installed options and accessories and additional dealer mark-up, profit and transportation charges, minus the dollar value of cash discounts.



a. Broker



b. Building permit



c. Business establishment



d. Cash price


2. 

 means any industrial or commercial organization or enterprise, including but not limited to a proprietorship, partnership, firm, business trust, joint venture, syndicate, corporation or association.



a. Broker



b. Building permit



c. Business establishment



d. Cash price


3. 

 means an official document or certificate granting permission to perform construction or erosion control work, except for electrical, plumbing or HVAC, on a one- or 2-family dwelling.



a. Broker



b. Building permit



c. Business establishment



d. Cash price


4. 

 means a manufactured home dealer who has no sales lot, no inventory and no ownership interest in the manufactured homes being sold.



a. Broker


b. Building permit



c. Business establishment



d. Cash price


5. 

 means a person who is qualified to engage in the practice of corrosion control on buried or submerged metal piping systems and metal tanks by reason of thorough knowledge of the physical sciences and the principles of engineering and mathematics acquired by a professional education and related practical experience.



a. Cathodic protection tester


b. Conflict of interest


c. Conveyance



d. Corrosion expert

6. 

 means the following types of devices, examples: Dumbwaiter, Elevator, Escalator, Freight elevator.


a. Cathodic protection tester



b. Conflict of interest



c. Conveyance



d. Corrosion expert


7. 

 means a certified inspector inspecting work in which the inspector or the inspector's employer, other than the state or a municipality, has participated or has a monetary or personal interest.



a. Cathodic protection tester



b. Conflict of interest



c. Conveyance



d. Corrosion expert


8. 

 means a person who demonstrates an understanding of the principles and measurements of all common types of cathodic protection systems as applied to buried or submerged metal piping systems and metal tanks.



a. Cathodic protection tester



b. Conflict of interest



c. Conveyance



d. Corrosion expert


9. 

 means any person, firm or corporation engaged in the business of performing construction or erosion control work on a one- or 2- family dwelling.



a. Dwelling contractor


b. Direct supervision



c. Department


d. Damage


10. 

 means to assume the responsibility of an activity of others and its results by providing oversight and guidance at the site where the activity is being conducted.



a. Dwelling contractor



b. Direct supervision



c. Department



d. Damage


11. 

 means the department of safety and professional services.


a. Dwelling contractor



b. Direct supervision



c. Department



d. Damage


12. 

 means defects caused by reasons other than normal wear through home age and usage.



a. Dwelling contractor



b. Direct supervision



c. Department



d. Damage


13. “dwelling contractor" does not include an owner of a dwelling who 

.



a. is residing in the dwelling



b. will reside in the dwelling



c. is flipping houses without the correct certifications or licenses 



d. all of the above


14. 

 means an office, other than the main business office, involved in the sales of manufactured homes that advertises as a sales location, displays new or used homes, takes sales calls, is staffed by licensed salespersons, has signage of a licensed dealer, and accepts offers or contracts on manufactured homes.



a. Branch


b. Blasting operation



c. Blasting


d. Approved


15. 

 means any enterprise or activity involving blasting.


a. Branch



b. Blasting operation



c. Blasting



d. Approved

16. 

 means any method of loosening, moving or shattering masses of solid matter by use of an explosive.



a. Branch



b. Blasting operation



c. Blasting



d. Approved

17. 

 means accepted by the department.


a. Branch



b. Blasting operation



c. Blasting



d. Approved

18. 

 means an integrated system of underground and overhead piping designed in accordance with fire protection engineering standards.


a. Automatic fire sprinkler system



b. Automatic fire sprinkler contractor  



c. ASME



d. Automatic fire sprinkler system apprentice


19. 

 means any individual, firm or corporation who has paid the annual license fee and obtained a license to conduct a business in the design, installation, maintenance or repair of automatic fire sprinkler systems.



a. Automatic fire sprinkler system



b. Automatic fire sprinkler contractor  



c. ASME



d. Automatic fire sprinkler system apprentice


20. 

 means American society of mechanical engineers.



a. Automatic fire sprinkler system



b. Automatic fire sprinkler contractor  



c. ASME



d. Automatic fire sprinkler system apprentice


21. 

 means any person other than an automatic fire sprinkler system contractor or a journeyman automatic fire sprinkler system fitter who is engaged in learning and assisting in the installation of automatic fire sprinkler systems


a. Automatic fire sprinkler system


b. Automatic fire sprinkler contractor  



c. ASME



d. Automatic fire sprinkler system apprentice

SPS 305-Use definitions to answer questions 22-42 below

(21) “Electrical construction" means the installation of electrical wiring. “Electrical construction" does not include the maintenance, repair or fabrication of electrical equipment or the installation of electrical wiring and equipment covered by ch. PSC 114.

(22) “Electrical wiring" has the meaning given in s. 101.80 (1m), Stats.

Note: Under s. 101.80 (1m), Stats., “electrical wiring" means all equipment, wiring, material, fittings, devices, appliances, fixtures, and apparatus used for the production, modification, regulation, control, distribution, utilization, or safeguarding of electrical energy for mechanical, chemical, cosmetic, heating, lighting, or similar purposes, as specified under the state electrical wiring code. “Electrical wiring" does not include the equipment, wiring, material, fittings, devices, appliances, fixtures, and apparatus used by a public utility, an electric cooperative, or a wholesale merchant operator for the purpose of generating, transmitting, distributing, or controlling heat, light, power, or natural gas to its customers or members.

(23) “Financial statement" means a balance sheet showing assets, liabilities and net worth.

(24) “Fireworks" has the meaning specified under s. 167.10 (1), Stats.

Note: Under s. 167.10 (1), Stats., “fireworks" means anything manufactured, processed or packaged for exploding, emitting sparks or combustion which does not have another common use, but does not include any of the following:

(a) Fuel or a lubricant.

(b) A firearm cartridge or shotgun shell.

(c) A flare used or possessed or sold for use as a signal in an emergency or in the operation of a railway, aircraft, watercraft or motor vehicle.

(d) A match, cigarette lighter, stove, furnace, candle, lantern or space heater.

(e) A cap containing not more than one-quarter grain of explosive mixture, if the cap is used or possessed or sold for use in a device which prevents direct bodily contact with a cap when it is in place for explosion.

(f) A toy snake which contains no mercury.

(g) A model rocket engine.

(h) Tobacco and a tobacco product.

(i) A sparkler on a wire or wood stick not exceeding 36 inches in length that is designed to produce audible or visible effects or to produce audible and visible effects.

(j) A device designed to spray out paper confetti or streamers and which contains less than one-quarter grain of explosive mixture.

(k) A fuseless device that is designed to produce audible or visible effects or audible and visible effects, and that contains less than one-quarter grain of explosive mixture.

(L) A device that is designed primarily to burn pyrotechnic smoke-producing mixtures, at a controlled rate, and that produces audible or visible effects, or audible and visible effects.

(m) A cylindrical fountain that consists of one or more tubes and that is classified by the federal department of transportation as a Division 1.4 explosive, as defined in 49 CFR 173.50.

(n) A cone fountain that is classified by the federal department of transportation as a Division 1.4 explosive, as defined in 49 CFR 173.50.

(25) “General supervision" means to assume the responsibility of an activity of others and its results without being present at the site where the activity is being conducted.

(26) “HVAC" means heating, ventilating and air conditioning.

(27) “HVAC equipment" means materials, piping, fittings, devices, appliances, apparatus, controls and control wiring used as part of or in connection with permanent heating, ventilating, air conditioning or exhausting systems serving buildings. HVAC equipment does not include residential bathroom fans and kitchen hoods, water heaters, process heating equipment, and space heaters such as masonry fireplaces and chimneys, factory-built fireplaces and venting systems, decorative gas fireplaces, and wood-burning stoves.

(28) “Incompetence" means conduct which evidences a lack of competence or ability to discharge the duty required to protect the health, safety and welfare of the public, lack of knowledge of the fundamental principles of a particular trade or practice, or an inability to apply those principles, or failure to maintain competency in the current practices and methods applicable to the activity and the state statutes and rules governing the activity.

(29) “Journeyman automatic fire sprinkler fitter" has the meaning specified under s. 145.01 (6), Stats.

Note: Under s. 145.01 (6), Stats., “journeyman automatic fire sprinkler fitter" means any person other than an automatic fire sprinkler contractor who is engaged in the practical installation of automatic fire sprinkler systems.

(30) “Journeyman plumber" has the meaning specified under s. 145.01 (7), Stats.

Note: Under s. 145.01 (7), Stats., “journeyman plumber" means any person other than a master plumber, who is engaged in the practical installation of plumbing.

(31) “Journeyman plumber-restricted" means a person licensed under s. 145.14, Stats.

(32) “Licensee" means any manufactured home dealer or manufactured home salesperson or any person who is both a manufactured home dealer and a manufactured home salesperson.

(33) “Lift" means a conveyance device covered under the scope of American Society of Mechanical Engineers (ASME) A18.1a – Safety Standard for Platform Lifts and Stairway Chairlifts.

(34) “Liquefied petroleum gas" has the meaning specified under s. 101.16 (1) (b), Stats.

Note: Section 101.16 (1) (b), Stats., reads: “ `Liquefied petroleum gas' means any material which is composed predominantly of, or any mixtures of, any of the following hydrocarbons including their isomers:

1. Propane.

2. Propylene.

3. Butane.

4. Butylene.

(35) “Listed device" has the meaning specified under s. 167.10 (1) (e), (f) and (i) to (n), Stats.

Note: See the note after the definition of “fireworks", sub. (18), for the statutory language of s. 167.10 (1) (e), (f) and (i) to (n).

(36) “Main business office" means an office involved in the sales of manufactured homes that is the primary management location of the licensed manufactured home dealer.

(37) “Manufactured home" has the meaning given in s. 101.91 (2), Stats.

Note: Under s. 101.91 (2), Stats., “manufactured home" means any of the following:

(am) A structure that is designed to be used as a dwelling with or without a permanent foundation and that is certified by the federal department of housing and urban development as complying with the standards established under 42 USC 5401 to 5425.

(c) A mobile home, unless a mobile home is specifically excluded under the applicable statute.

(38) “Manufactured home dealer" has the meaning given in s. 101.91 (3), Stats., except for a person who sells no more than one new or used manufactured home in any one calendar year.

Note: Under s. 101.91 (3), Stats., “manufactured home dealer" means a person who, for a commission or other thing of value, sells, exchanges, buys or rents, or offers or attempts to negotiate a sale or exchange of an interest in, manufactured homes or who is engaged wholly or partially in the business of selling manufactured homes, whether or not the manufactured homes are owned by the person, but does not include:

(a) A receiver, trustee, personal representative, guardian, or other person appointed by or acting under the judgment or order of any court.

(b) Any public officer while performing that officer's official duty.

(c) Any employee of a person enumerated in par. (a) or (b).

(d) Any lender, as defined in s. 421.301 (22).

(e) A person transferring a manufactured home used for that person's personal, family or household purposes, if the transfer is an occasional sale and is not part of the business of the transferor.

(39) “Manufactured home community" has the meaning given in s. 101.91 (5m), Stats.

Note: Under s. 101.91 (5m), Stats., “manufactured home community" means any plot or plots of ground upon which 3 or more manufactured homes that are occupied for dwelling or sleeping purposes are located. “Manufactured home community" does not include a farm where the occupants of the manufactured homes are the father, mother, son, daughter, brother or sister of the farm owner or operator or where the occupants of the manufactured homes work on the farm.

(40) “Material hoist" has the meaning as given in s. 101.981 (1) (g), Stats.

Note: Section 101.981 (1) (g), Stats., reads: “Material hoist" means a hoist, other than a personnel hoist, that is used to raise or lower materials during construction, alteration, or demolition of a building or structure.


22. 

 means a balance sheet showing assets, liabilities and net worth.



a. Financial statement


b. Lift



c. Liquefied petroleum gas



d. General supervision

23. 

 means a conveyance device covered under the scope of American Society of Mechanical Engineers (ASME) A18.1a – Safety Standard for Platform Lifts and Stairway Chairlifts.



a. Financial statement



b. Lift



c. Liquefied petroleum gas



d. General supervision


24. 

 means any material which is composed predominantly of, or any mixtures of, any of the following hydrocarbons including their isomers: Propane, Propylene, Butane or Butylene.

 

a. Financial statement



b. Lift



c. Liquefied petroleum gas



d. General supervision


25. 

 means to assume the responsibility of an activity of others and its results without being present at the site where the activity is being conducted.



a. Financial statement



b. Lift



c. Liquefied petroleum gas



d. General supervision


26. 

 means a person who, for a commission or other thing of value, sells, exchanges, buys or rents, or offers or attempts to negotiate a sale or exchange of an interest in, manufactured homes or who is engaged wholly or partially in the business of selling manufactured homes, whether or not the manufactured homes are owned by the person.


a. Manufactured home dealer



b. Main business office



c. Manufactured home community



d. Manufactured home


27. 

 means an office involved in the sales of manufactured homes that is the primary management location of the licensed manufactured home dealer.


a. Manufactured home dealer



b. Main business office



c. Manufactured home community



d. Manufactured home


28. 

 means any plot or plots of ground upon which 3 or more manufactured homes that are occupied for dwelling or sleeping purposes are located.


a. Manufactured home dealer



b. Main business office



c. Manufactured home community



d. Manufactured home


29. 

 means a structure that is designed to be used as a dwelling with or without a permanent foundation and that is certified by the federal department of housing and urban development.


a. Manufactured home dealer


b. Main business office



c. Manufactured home community



d. Manufactured home


30. Licensee" means any 

.



a. manufactured home dealer



b. manufactured home salesperson



c. any person who is both a manufactured home dealer and a manufactured home salesperson



d. any of the above


31. 

 means any person other than a master plumber, who is engaged in the practical installation of plumbing.



a. Journeyman plumber


b. Journeyman automatic fire sprinkler fitter



c. HVAC



d. HVAC equipment


32. 

 means any person other than an automatic fire sprinkler contractor who is engaged in the practical installation of automatic fire sprinkler systems.



a. Journeyman plumber



b. Journeyman automatic fire sprinkler fitter



c. HVAC



d. HVAC equipment


33. 

 means heating, ventilating and air conditioning


a. Journeyman plumber



b. Journeyman automatic fire sprinkler fitter



c. HVAC



d. HVAC equipment


34. 

 means materials, piping, fittings, devices, appliances, apparatus, controls and control wiring used as part of or in connection with permanent heating, ventilating, air conditioning or exhausting systems serving buildings.


a. Journeyman plumber



b. Journeyman automatic fire sprinkler fitter



c. HVAC



d. HVAC equipment


35. 

 means a hoist, other than a personnel hoist, that is used to raise or lower materials during construction, alteration, or demolition of a building or structure.



a. Material hoist


b. Incompetence



c. Electrical wiring



d. Electrical construction

36. 

 means conduct which evidences a lack of competence or ability to discharge the duty required to protect the health, safety and welfare of the public, lack of knowledge of the fundamental principles of a particular trade or practice, or an inability to apply those principles, or failure to maintain competency in the current practices and methods applicable to the activity and the state statutes and rules governing the activity.



a. Material hoist



b. Incompetence



c. Electrical wiring



d. Electrical construction


37. 

 means all equipment, wiring, material, fittings, devices, appliances, fixtures, and apparatus used for the production, modification, regulation, control, distribution, utilization, or safeguarding of electrical energy for mechanical, chemical, cosmetic, heating, lighting, or similar purposes, as specified under the state electrical wiring code.


a. Material hoist



b. Incompetence



c. Electrical wiring



d. Electrical construction


38. 

 means the installation of electrical wiring. 


a. Material hoist



b. Incompetence



c. Electrical wiring



d. Electrical construction


39. “Manufactured home community" 

 include a farm where the occupants of the manufactured homes are the father, mother, son, daughter, brother or sister of the farm owner or operator or where the occupants of the manufactured homes work on the farm.



a. does 



b. does not



c. may



d. none of the above


40. “Electrical wiring" 

 include the equipment, wiring, material, fittings, devices, appliances, fixtures, and apparatus used by a public utility, an electric cooperative, or a wholesale merchant operator for the purpose of generating, transmitting, distributing, or controlling heat, light, power, or natural gas to its customers or members.


a. does 



b. does not



c. may



d. none of the above


41. “fireworks" means anything manufactured, processed or packaged for 

 which does not have another common use


a. exploding



b. emitting sparks



c. combustion



d. all of the above


42. “fireworks" does not include any of the following:



a. Fuel or a lubricant.



b. A firearm cartridge or shotgun shell.



c. A toy snake which contains no mercury


d. all of the above

SPS 305-Use definitions to answer questions 43-71 below

(41) “Master plumber" has the meaning specified under s. 145.01 (8), Stats.

Note: Under s. 145.01 (8), Stats., “master plumber" means any person skilled in the planning, superintending and the practical installation of plumbing and familiar with the laws, rules and regulations governing the same.

(42) “Master plumber-restricted" means any person licensed as a master plumber (restricted) 145.14.

(43) “Misconduct" means an act performed by an individual relating to the responsibilities or duties for which the individual has been licensed, registered or certified that jeopardizes the interests of the public, including violation of federal or state laws, local ordinances or administrative rules; preparation of deficient or falsified reports; failure to submit information or reports required by law or contract when requested by the municipality or the department; conduct which evidences a lack of trustworthiness; misrepresentation of qualifications such as education, experience or certification; illegal entry of premises; misuse of funds; or misrepresentation of authority.

(44) “Multipurpose piping system" means a type of water distribution system conveying potable water to plumbing fixtures and appliances and automatic fire sprinklers with the intention of serving both domestic water needs and fire protection needs within a one- or 2-family dwelling or manufactured dwelling.

(45) “Municipality" means a city, village, town or county.

(46) “Negligence" means the failure to exercise the degree of care and judgment to protect public health and safety normally expected of an individual performing activities within the scope of a license, certification or registration category.

(47) “Net worth" means the difference between the asset and liability values on a financial statement. Negative net worth is the excess of liabilities over assets.

(48) “New manufactured home" has the meaning given in s. 101.91 (11), Stats.

Note: Under s. 101.91 (11), Stats., “new manufactured home" means a manufactured home that has never been occupied, used or sold for personal or business use.

(49) “Non-broker" means a manufactured home dealer who has a sales lot, inventory or ownership interest in the manufactured homes being sold.

(50) “PECFA" means petroleum environmental cleanup fund award, as established in s. 292.63, Stats.

Note: Authority over sub. (50) was transferred to the Department of Natural Resources (DNR) by 2013 Wis. Act 20, s. 9138 (7) (f). Sub. (50) is subject to future rulemaking by DNR. See also ss. SPS 305.80 and 305.81 and ch. NR 747.

(51) “Personnel hoist" has the meaning as given in s. 101.981 (1) (h), Stats.

Note: Section 101.981 (1) (h), Stats., reads: “Personnel hoist" means a hoist that is installed inside or outside a building or structure during the construction, alteration, or demolition of the building or structure and that is used to raise and lower workers, other personnel, and materials which the hoist is designed to carry.

(52) “Pipelayer" has the meaning the department shall approve the registration of any person as a pipelayer if the person is employed by a utility contractor and if the person is engaged in the practical installation, within public or private premises, of piping which conveys sewage, rain water or other liquid wastes to a legal point of disposal or engages in the practical installation of water service piping from the street main to the immediate inside building perimeter. 

(53) “Plumbing" has the meaning specified under s. 145.01 (10), Stats.

Note: Section 145.01 (10), Stats., reads:

(10) Plumbing. (a) “Plumbing" means:

1. All piping, fixtures, appliances, equipment, devices, and appurtenances in connection with water supply systems, water distribution systems, wastewater drainage systems, reclaimed water systems, and stormwater use systems, including hot water storage tanks, water treatment devices, and water heaters connected with these systems and also includes the installation thereof.

2. The construction, connection, installation, service, or repair of any drain or wastewater piping system that connects to the mains or other terminal within the bounds of, or beneath an area subject to easement for highway purposes, including private sewage systems and stormwater treatment and dispersal systems, and the alteration of any such systems, drains or wastewater piping.

3. The construction, connection, installation, service, or repair of water service piping that connects to the main or other water utility service terminal within the bounds of, or beneath an area subject to easement for highway purposes and its connections.

4. The water pressure system other than municipal systems as provided in ch. 281.

5. A plumbing and drainage system so designed and vent piping so installed as to keep the air within the system in free circulation and movement; to prevent with a margin of safety unequal air pressures of such force as might blow, siphon or affect trap seals, or retard the discharge from plumbing fixtures, or permit sewer air to escape into the building; to prohibit cross-connection, contamination or pollution of the water supply and distribution systems; and to provide an adequate supply of water to properly serve, cleanse and operate all fixtures, equipment, appurtenances and appliances served by the plumbing system.

(br) “Plumbing" does not include any of the following:

1. A rainwater gutter or downspout down to the point that it discharges into a plumbing system, a subsoil drain, or a foundation drain.

2g. A process water reuse system if the process water reuse system is not connected to any plumbing fixture or appliance.

2m. A stormwater culvert under a roadway or walkway that is placed there only to equalize the water level from one end of the culvert to the other end.

3. The practical installation of process piping within a sewage disposal plant.

(54) “Plumbing appliance" means any one of a class of plumbing devices which is intended to perform a special function. The operation or control of the appliance may be dependent upon one or more energized components, such as motors, controls, heating elements, or pressure or temperature sensing elements. The devices may be manually adjusted or controlled by the user or operator, or may operate automatically through one or more of the following actions: a time cycle, a temperature range, a pressure range, a measured volume or weight.

(55) “Plumbing apprentice" has the meaning specified under s. 145.01 (11), Stats.

Note: Under s. 145.01 (11), Stats., “plumbing apprentice" means any person other than a journeyman or master plumber who is engaged in learning and assisting in the installation of plumbing and drainage.

(56) “Place of employment" has the meaning specified under s. 101.01 (11), Stats.

Note: Under s. 101.01 (11), Stats., “place of employment" includes every place, whether indoors or out or underground and the premises appurtenant thereto where either temporarily or permanently any industry, trade or business is carried on, or where any process or operation, directly or indirectly related to any industry, trade or business, is carried on, and where any person is, directly or indirectly, employed by another for direct or indirect gain or profit, but does not include any place where persons are employed in private domestic service which does not involve the use of mechanical power or in farming. “Farming" includes those activities specified in s. 102.04 (3), and also includes the transportation of farm products, supplies or equipment directly to the farm by the operator of said farm or employees for use thereon, if such activities are directly or indirectly for the purpose of producing commodities for market, or as an accessory to such production. When used with relation to building codes, “place of employment" does not include an adult family home, as defined in s. 50.01 (1), or, except for the purposes of s. 101.11, a previously constructed building used as a community-based residential facility, as defined in s. 50.01 (1g), which serves 20 or fewer unrelated residents.

(57) “POWTS" means private onsite wastewater treatment system and has the meaning specified under s. 145.01 (12), Stats., for “private sewage system".

Note: Under s. 145.01 (12), Stats., “private sewage system" means a sewage treatment and disposal system serving a single structure with a septic tank and soil absorption field located on the same parcel as the structure. This term also means an alternative sewage system approved by the department including a substitute for the septic tank or soil absorption field, a holding tank, a system serving more than one structure or a system located on a different parcel than the structure. A private sewage system may be owned by the property owner or by a special purpose district.

(58) “Private interceptor main sewer" has the meaning specified under s. SPS 381.01 (193).

Note: Under s. SPS 381.01 (193) “private interceptor main sewer" means a sewer serving 2 or more buildings and not part of the municipal sewer system.

(59) “Private water main" has the meaning specified under s. SPS 381.01 (195).

Note: Under s. SPS 381.01 (195) “private water main" means a water main serving 2 or more buildings and not part of the municipal water system.

(60) “Process piping" means that piping which is separated from a water supply system or drain system by the appropriate methods or means specified under ch. SPS 382 and is part of a system used exclusively for refining, manufacturing, industrial or shipping purposes of every character and description.

(61) “Public building" has the meaning specified under s. 101.01 (12), Stats.

Note: Under s. 101.01 (12), Stats., “public building" means any structure, including exterior parts of such building, such as a porch, exterior platform or steps providing means of ingress or egress, used in whole or in part as a place of resort, assemblage, lodging, trade, traffic, occupancy, or use by the public or by 3 or more tenants. When used in relation to building codes, “public building" does not include a previously constructed building used as a community-based residential facility as defined in s. 50.01 (1g) which serves 20 or fewer unrelated residents or an adult family home, as defined in s. 50.01 (1).


43. 

 means a city, village, town or county.



a. Municipality



b. Place of employment



c. Farming



d. Public building

44. 

 includes every place, whether indoors or out or underground and the premises appurtenant thereto where either temporarily or permanently any industry, trade or business is carried on, or where any process or operation, directly or indirectly related to any industry, trade or business, is carried on, and where any person is, directly or indirectly, employed by another for direct or indirect gain or profit.


a. Municipality



b. Place of employment



c. Farming



d. Public building


45. 

 includes those activities specified in s. 102.04 (3), and also includes the transportation of farm products, supplies or equipment directly to the farm by the operator of said farm or employees for use thereon, if such activities are directly or indirectly for the purpose of producing commodities for market,


a. Municipality



b. Place of employment



c. Farming



d. Public building


46. 

 means any structure, including exterior parts of such building, such as a porch, exterior platform or steps providing means of ingress or egress, used in whole or in part as a place of resort, assemblage, lodging, trade, traffic, occupancy, or use by the public or by 3 or more tenants.


a. Municipality



b. Place of employment



c. Farming



d. Public building


47. 

 means private onsite wastewater treatment system and has the meaning specified under s. 145.01 (12), Stats., for “private sewage system".


a. POWTS



b. Process piping



c. Private water main



d. Private interceptor main sewer



48. 

 means that piping which is separated from a water supply system or drain system by the appropriate methods or means specified under ch. SPS 382 and is part of a system used exclusively for refining, manufacturing, industrial or shipping purposes of every character and description.



a. POWTS



b. Process piping



c. Private water main



d. Private interceptor main sewer



49. 

 means a water main serving 2 or more buildings and not part of the municipal water system.



a. POWTS



b. Process piping



c. Private water main



d. Private interceptor main sewer



50. 

 means a sewer serving 2 or more buildings and not part of the municipal sewer system.



a. POWTS



b. Process piping



c. Private water main



d. Private interceptor main sewer



51. 

 means any person other than a journeyman or master plumber who is engaged in learning and assisting in the installation of plumbing and drainage.



a. Plumbing apprentice



b. Plumbing appliance


c. Plumbing


d. Pipelayer

52. 

 means any one of a class of plumbing devices which is intended to perform a special function. The operation or control of the appliance may be dependent upon one or more energized components, such as motors, controls, heating elements, or pressure or temperature sensing elements.


a. Plumbing apprentice



b. Plumbing appliance



c. Plumbing



d. Pipelayer


53. 

 means all piping, fixtures, appliances, equipment, devices, and appurtenances in connection with water supply systems, water distribution systems, wastewater drainage systems, reclaimed water systems, and stormwater use systems, including hot water storage tanks, water treatment devices, and water heaters connected with these systems.


a. Plumbing apprentice



b. Plumbing appliance



c. Plumbing



d. Pipelayer


54. The department shall approve the registration of any person as a 

 if the person is employed by a utility contractor and if the person is engaged in the practical installation, within public or private premises, of piping which conveys sewage, rain water or other liquid wastes to a legal point of disposal or engages in the practical installation of water service piping from the street main to the immediate inside building perimeter. 



a. Plumbing apprentice



b. Plumbing appliance



c. Plumbing



d. Pipelayer


55. 

 means a hoist that is installed inside or outside a building or structure during the construction, alteration, or demolition of the building or structure and that is used to raise and lower workers, other personnel, and materials which the hoist is designed to carry.



a. Personnel hoist


b. PECFA



c. New manufactured home


d. Net worth


56. 

 means petroleum environmental cleanup fund award


a. Personnel hoist



b. PECFA



c. New manufactured home



d. Net worth


57. 

 means a manufactured home that has never been occupied, used or sold for personal or business use.



a. Personnel hoist



b. PECFA



c. New manufactured home



d. Net worth


58. 

 means the difference between the asset and liability values on a financial statement. Negative net worth is the excess of liabilities over assets.



a. Personnel hoist



b. PECFA



c. New manufactured home



d. Net worth


59. 

 means a type of water distribution system conveying potable water to plumbing fixtures and appliances and automatic fire sprinklers with the intention of serving both domestic water needs and fire protection needs within a one- or 2-family dwelling or manufactured dwelling.


a. Multipurpose piping system


b. Misconduct



c. Master plumber-restricted



d. Master plumber


60. 

 means an act performed by an individual relating to the responsibilities or duties for which the individual has been licensed, registered or certified that jeopardizes the interests of the public, including violation of federal or state laws, local ordinances or administrative rules; preparation of deficient or falsified reports; failure to submit information or reports required by law or contract when requested by the municipality or the department; conduct which evidences a lack of trustworthiness; misrepresentation of qualifications such as education, experience or certification; illegal entry of premises; misuse of funds; or misrepresentation of authority.



a. Multipurpose piping system



b. Misconduct



c. Master plumber-restricted



d. Master plumber

61. 

 means any person licensed as a master plumber (restricted) 145.14.



a. Multipurpose piping system



b. Misconduct



c. Master plumber-restricted



d. Master plumber

62. 

 means any person skilled in the planning, superintending and the practical installation of plumbing and familiar with the laws, rules and regulations governing the same.



a. Multipurpose piping system



b. Misconduct



c. Master plumber-restricted



d. Master plumber

63. “Plumbing" does not include any of the following:



a. A rainwater gutter or downspout down to the point that it discharges into a plumbing system, a 
subsoil drain, or a foundation drain.



b. A process water reuse system if the process water reuse system is not connected to any 
plumbing fixture or appliance.



c. A stormwater culvert under a roadway or walkway that is placed there only to equalize the 



d. all of the above


64. “Plumbing" means the construction, connection, installation, service, or repair of any _________ piping system that connects to the mains or other terminal within the bounds of, or beneath an area subject to easement for highway purposes, including private sewage systems and stormwater treatment and dispersal systems, and the alteration of any such systems, drains or wastewater piping. 


a. drain



b. wastewater



c. both a or b



d. none of the above


65. “Plumbing" means the construction, connection, installation, service, or repair of water service piping that connects to the 

 within the bounds of, or beneath an area subject to easement for highway purposes and its connections.



a. main 



b. water utility service terminal


c.  both a or b



d. none of the above

66. “Plumbing" means the water pressure system other than 
 systems as provided in ch. 281.



a. local


b. municipal



c. urban



d. none of the above

67. “Plumbing" means a plumbing and drainage system so designed and vent piping so installed as to keep the 
         within the system in free circulation and movement; to prevent with a margin of safety unequal air pressures of such force as might blow, siphon or affect trap seals, or retard the discharge from plumbing fixtures, or permit sewer air to escape into the building;



a. water


b. sewage



c. air



d. none of the above

 
68. “Plumbing" means to prohibit 

 of the water supply and distribution systems; and to provide an adequate supply of water to properly serve, cleanse and operate all fixtures, equipment, appurtenances and appliances served by the plumbing system.


a. cross-connection



b. contamination



c. pollution


d. all of the above


69. “Private sewage system” This term also means an 

 sewage system approved by the department including a substitute for the septic tank or soil absorption field, a holding tank, a system serving more than one structure or a system located on a different parcel than the structure. 



a. alternative


b. dissimilar


c. additional


d. all of the above

70. “Private sewage system" means a 

 serving a single structure with a septic tank and soil absorption field located on the same parcel as the structure.



a. sewage treatment 



b. disposal system



c.  both a or b



d. none of the above


71. “Private sewage system" may be owned by the 

.   


a. property owner



b. special purpose district



c.  both a or b



d. none of the above

SPS 305-Use definitions to answer questions 72-85 below

(63) “Registered learner" has the meaning specified under s. 145.01 (13), Stats.

Note: Under s. 145.01 (13), Stats., “registered learner" means a person, other than a restricted plumber licensee, who is learning a limited type of plumbing and is engaged in assisting a restricted plumber licensee.

(65) “Restricted plumber licensee" has the meaning specified under s. 145.01 (14), Stats.

Note: Under s. 145.01 (14), Stats., “restricted plumber licensee" means any person licensed as a master plumber (restricted) or a journeyman plumber (restricted) under s. 145.14, Stats.

(66) “Retail purchaser" means any purchaser not licensed as a manufactured home dealer or a manufactured home salesperson.

(67) “Sanitary building sewer" has the meaning specified under s. SPS 381.01 (45).

Note: Under s. SPS 381.01 (45) “sanitary building sewer" means a building sewer which conveys wastewater consisting in part of domestic wastewater.

(68) “Site" means any plot of land which is owned or rented, and used or intended to be used for the accommodation of a manufactured home for residential purposes.

(69) “Storm building sewer" has the meaning specified under s. SPS 381.01 (46).

Note: Under s. SPS 381.01 (46) “storm building sewer" means a building sewer which conveys storm water wastes or clear water wastes, or both.

(70) “UDC" means chs. SPS 320 to 325, the Wisconsin uniform dwelling code.

(71) “Used manufactured home" has the meaning given in s. 101.91 (12), Stats.

Note: Under s. 101.91 (12), Stats., “used manufactured home" means a manufactured home that has previously been occupied, used or sold for personal or business use.

(72) “Utility contractor" has the meaning specified under s. 145.01 (15), Stats.


 145.07 (10) The department shall issue a utility contractor's license to any person who is skilled in the planning, superintending and practical installation, within public or private premises, of piping which conveys sewage, rain water or other liquid wastes to a legal point of disposal and who is skilled in the design, planning, superintending and practical installation of water service piping from the street main to the immediate inside building perimeter. 
(73) “Water service" has the meaning specified under s. SPS 381.01 (282).

Note: Under s. SPS 381.01 (282) “water service" means that portion of a water supply system from the water main or private water supply to the building control valve.

(74) “Water supply system" has the meaning specified under s. SPS 381.01 (284).

Note: Under s. SPS 381.01 (284) “water supply system" means the piping of a private water main, water service and water distribution system, fixture supply connectors, fittings, valves, and appurtenances through which water is conveyed to points of usage such as plumbing fixtures, plumbing appliances, water using equipment or other piping systems to be served.

(75) “Year" means 12 consecutive months.


72. 

 means a manufactured home that has previously been occupied, used or sold for personal or business use.


a. Used manufactured home

b. UDC


c. Storm building sewer


d. Site


73. 

 means chs. SPS 320 to 325, the Wisconsin uniform dwelling code.


a. Used manufactured home


b. UDC


c. Storm building sewer


d. Site


74. 

 means a building sewer which conveys storm water wastes or clear water wastes, or both.


a. Used manufactured home


b. UDC


c. Storm building sewer


d. Site


75. 

 means any plot of land which is owned or rented, and used or intended to be used for the accommodation of a manufactured home for residential purposes.


a. Used manufactured home


b. UDC


c. Storm building sewer


d. Site


76. 

 means a building sewer which conveys wastewater consisting in part of domestic wastewater.


a. Sanitary building sewer

b. Retail purchaser


c. Restricted plumber licensee

d. Registered learner


77. 

 means any purchaser not licensed as a manufactured home dealer or a manufactured home salesperson.


a. Sanitary building sewer


b. Retail purchaser


c. Restricted plumber licensee


d. Registered learner


78. 

 means any person licensed as a master plumber (restricted) or a journeyman plumber (restricted) under s. 145.14, Stats.


a. Sanitary building sewer


b. Retail purchaser


c. Restricted plumber licensee


d. Registered learner


79. 

 means a person, other than a restricted plumber licensee, who is learning a limited type of plumbing and is engaged in assisting a restricted plumber licensee.


a. Sanitary building sewer


b. Retail purchaser


c. Restricted plumber licensee


d. Registered learner

80. 

 means 12 consecutive months

a. Year

b. Utility contractor


c. Water service


d. Water supply system


81. The department shall issue a 

 license to any person who is skilled in the planning, superintending and practical installation, within public or private premises, of piping which conveys sewage, rain water or other liquid wastes to a legal point of disposal. 

a. Year


b. utility contractor’s

c. water service


d. water supply system


82. 

 means that portion of a water supply system from the water main or private water supply to the building control valve.


a. Year


b. Utility contractor


c. Water service


d. Water supply system


83. 

 means the piping of a private water main, water service and water distribution system, fixture supply connectors, fittings, valves, and appurtenances through which water is conveyed to points of usage. 


a. Year


b. Utility contractor


c. Water service


d. Water supply system


84. Utility Contractor is skilled in the 

 of water service piping from the street main to the immediate inside building perimeter. 


a. design & planning


b. superintending 


c. practical installation

d. all of the above

85.  Water supply system includes 

 or other piping systems to be served.


a. plumbing fixtures


b. plumbing appliances


c. water using equipment

d. all of the above
---------------------------------------------------------------------------------------------------------------------

Subchapter I — General Requirements

SPS 305.01 Application. (1)  Application for a license, certification, registration, or enrollment or a license, certification, registration, or enrollment examination covered under this chapter shall be submitted on a form prescribed by the department.

(2) An application for a license, certification or registration which either requires or recognizes the attendance at or completion of educational courses as a qualification for the license, certification or registration shall be accompanied by such evidence, including but not limited to transcripts, that verifies fulfillment of the prerequisite.

(3) Pursuant to s. 101.022, Stats., the department may not issue or renew any license, certification, registration, or enrollment under this chapter unless the applicant for the license, certification, registration, or enrollment includes his or her social security number, or in the case of a license, certification, registration, or enrollment for a business, the applicant includes the federal employer identification number. The department shall consider the failure by the applicant to provide a social security number or federal employer identification number as an incomplete application and shall not process the application further until the appropriate number is provided.

(4) A business having multiple locations covered under one federal employer identification number applying for any of the following licenses, certifications or registrations need not obtain a separate license, certification or registration for each location:

(a) Dwelling contractor.

(b) Electrical contractor.

(c) UDC inspection agency.

(d) HVAC contractor.

(e) PECFA consulting firm.

(f) Tank specialty firm.

(g) Elevator contractor.

(h) Gas supplier.

(j) Inspection agency.

86.Application for a license, certification or registration or a license, certification or registration examination covered under this chapter shall be submitted on a form prescribed by the _______.

            a. contractor

            b. supplier

            c. department

            d. none of the above


87. An application for a 

 which either requires or recognizes the attendance at or completion of educational courses as a qualification for the license, certification or registration shall be accompanied by such evidence, including but not limited to transcripts, that verifies fulfillment of the prerequisite.


a. license


b. certification


c. registration

d. any of the above


88. A business having multiple locations covered under one federal employer identification number applying for any of the following licenses, certifications or registrations 

 obtain a separate license, certification or registration for each location:

            a. need to

            b. need not

c. may need to


d. should

---------------------------------------------------------------------------------------------------------------------

SPS 305.02 Fees.
(1) 
(a) Fees required for the various licenses, certifications, registrations, or enrollment and their processing under this chapter shall be determined in accordance with Table 305.02, except as provided in par. (b).

(b)
1. Pursuant to s. 145.05, Stats., a person who holds a master plumber license, master plumber-restricted license, journeyman plumber license or journeyman plumber-restricted license and who is employed by a city of the first, second or third class as a plumbing inspector is not required to submit a license fee in order to renew his or her license.

2. A person who applies to renew his or her master plumber license, master plumber-restricted license, journeyman plumber license or journeyman plumber-restricted license without the license fee as permitted under subd. 1. shall provide evidence that he or she is a plumbing inspector for a first, second or third class city with the application for renewal.

Note: The exemption of not having to pay a license fee does not relieve an individual of fulfilling all other obligations or responsibilities to renew the license such as continuing education requirements.

(2) Fees required under this chapter for licenses, certifications, registrations, and enrollment and for processing examinations shall not be refundable.

(3) The department shall prorate a license, certification, registration, or enrollment fee on a monthly basis for the initial issuance of a license, certification, registration, or enrollment that is issued for less than the full license, certification, registration, or enrollment period.

(4) 
(a) The fee for a petition for variance submitted for a rule relative to this chapter shall be $200.00, except as provided in par. (b).

(b) The fee for a petition for variance submitted and requested by the submitter to be reviewed on a priority basis shall be $400.00.

(5) A fee of $15.00 shall be charged to replace a lost or destroyed license, certification, registration, or enrollment.


89. Fees required under this chapter for licenses, certifications, registrations, and enrollment and for processing examinations ______ be refundable.

            a. shall not
            b. shall 


c. may not


d. may


90. The department                      a license, certification, registration, or enrollment fee on a monthly basis for the initial issuance of a license, certification, registration, or enrollment that is issued for less than the full license, certification, registration, or enrollment period.

            a. may prorate

            b. shall prorate

c. does not prorate


d. none of the above


91. A fee of $                shall be charged to replace a lost or destroyed license, certification, registration, or enrollment.


a. 15

b. 200


c. 400


d. none of the above


92. The fee for a petition for variance submitted and requested by the submitter to be reviewed on a priority basis shall be $________.


a. 15


b. 200


c. 400


d. none of the above

93. The fee for a petition for variance submitted for a rule relative to this chapter shall be $______.


a. 15


b. 200


c. 400


d. none of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.03 Petitions for variance. An individual may submit a petition for variance to any rule in this chapter in accordance with ch. SPS 303.

Note: Many of the rules relating to credentials reflect specific statutory requirements; in such cases the department is not able to grant a petition for variance if it would supersede a statutory requirement.

SPS 305.04 Processing times.
(1)  An application for a license, certification, registration, or enrollment covered under this chapter shall be granted or denied by the department within 21 calendar days after the department receives all of the application materials necessary to obtain the license, certification, registration, or enrollment.

(2) 
(a) If the license, certification, registration, or enrollment application information is insufficient, the department shall request additional information within 21 calendar days of receipt of the application.

(b) If an applicant does not respond to a request by the department for additional information within 3 months after the date of the request, the department shall make a determination on the application based upon the information on hand.

94. An application for a license, certification, registration, or enrollment covered under this chapter shall be granted or denied by the department within __________ after the department receives all of the application materials necessary to obtain the license, certification, registration, or enrollment.

            a. 14 calendar days
            b. 21 calendar days

c. 30 calendar days


d. 3 months

95. If the license, certification, registration, or enrollment application information is insufficient, the department shall request additional information within __________of receipt of the application.      

a. 14 calendar days

            b. 21 calendar days


c. 30 calendar days


d. 3 months

96. If an applicant does not respond to a request by the department for additional information within ___________ after the date of the request, the department shall make a determination on the application based upon the information on hand.

            a. 14 calendar days

            b. 21 calendar days


c. 30 calendar days


d. 3 months

---------------------------------------------------------------------------------------------------------------------

SPS 305.05 Mailing.
(1)  Unless otherwise provided by law, all orders, notices and other papers may be served by the department by first class mail at the address on file with the department.

(2) A license, certification, registration, or enrollment holder shall be responsible for notifying the department of any change in mailing address.

SPS 305.06 Terms.
(1)  A license, certification, registration, or enrollment issued under this chapter shall be valid for a period of time no longer than that specified in Table 305.06.

(2) A license, certification, registration, or enrollment issued under this chapter shall expire at midnight on the day or date of expiration of the term specified in Table 305.06. 

97. A license, certification, registration, or enrollment issued under this chapter shall expire ________.

            a. at midnight on the day


b. date of expiration of the term specified in Table 320.06   

c. date of expiration of the term specified in Table 305.06   

d. both a or c
------------------------------------------------------------------------------------------------------------------------

SPS 305.07 Renewal.
(1) 
(a) Except under s. SPS 305.96, a notice of renewal shall be mailed by the department to a license, certification, registration, or enrollment holder at least 30 calendar days prior to the expiration of the license, certification, registration, or enrollment.

(b) Failure to receive a notice for renewal of a license, certification, registration, or enrollment shall not be considered as an excuse or good cause for failure to renew a license, certification, registration, or enrollment prior to the expiration of the license, certification, registration, or enrollment.

(2) 
(a) Except as provided in par. (b), upon receipt of the renewal application from the department, a person may apply to renew his or her license, certification, registration, or enrollment provided an application, a license, certification, registration, or enrollment fee and evidence of all renewal obligations, if any, are submitted to the department prior to the expiration date of the license, certification, registration, or enrollment.

(b)
1. A person may apply to renew his or her license, certification, registration, or enrollment in accordance with par. (a) no later than one term after expiration of the license, certification, registration, or enrollment as specified in Table 305.06 in accordance with all of the following conditions:

a. An application fee as specified in s. SPS 305.02, Table 305.02 shall accompany the renewal application.

b. Any continuing education credit obtained after the expiration date of the license, certification, registration, or enrollment, but prior to one term after the expiration date of the license, certification, registration, or enrollment as specified in Table 305.06, that is needed to fulfill the renewal obligations shall be documented and filed with the department on a form prescribed by the department.

Note: The form to document late continuing education credit may be obtained from the Safety and Buildings Division, P.O. Box 7082, Madison, Wisconsin 53707−7082, telephone 608/261−8500.

2. The submission of a form under subd. 1. b. to the department shall include a $25.00 processing fee.

(c) A person who files for renewal more than one term after expiration of his or her license, certification or registration may be reinstated by filing with the department an administrative fee of

$200.00, an application, and the application fee and the license, certification or registration fee specified in SPS 305.02, Table 305.02. The department may also require demonstration of competence

by various methods including, but not limited to, written or oral examination, documentation of relevant work experience in other jurisdictions, or documentation of education or experience in the field. Any education or examination required by the department may not be more extensive than the requirements in effect at the time of the request for reinstatement.

2. The submission of a form under subd. 1. b. to the department shall include a $25.00 processing fee.

3.
a. Subdivisions 1. and 2. and par. (c) do not apply to a license, certification or registration issued under s. SPS 305.68 or ss. SPS 305.82 to 305.88.

b. A person who files for renewal after the expiration date of a license, certification or registration issued under s. SPS 305.68 or ss. SPS 305.82 to 305.88 shall comply with this chapter's requirements for initially receiving that license, certification or registration.

c. A person who files for renewal of a license, certification or registration issued under s. SPS 305.68, 305.84 or 305.85, and who has not obtained all continuing education credit required for renewal shall comply with this chapter's requirements for initially receiving that license, certification or registration.

d. For a license, certification or registration issued under s. SPS 305.68, 305.84 or 305.85, the time period for obtaining continuing education credits shall extend from the beginning date to the expiration date of that license, certification or registration.

(c) A person who files for renewal more than one term after expiration of his or her license, certification, registration, or enrollment may be reinstated by filing with the department an administrative fee of $200.00, an application, and the application fee and the license, certification, registration, or enrollment fee specified in s. SPS 305.02, Table 305.02. The department may also require demonstration of competence by various methods including written or oral examination, documentation of relevant work experience in other jurisdictions, or documentation of education or experience in the field. Any education or examination required by the department may not be more extensive than the requirements in effect at the time of the request for reinstatement.

98. Failure to receive a notice for renewal of a license, certification, registration, or enrollment shall not be considered as __________for failure to renew a license, certification, registration, or enrollment prior to the expiration of the license, certification, registration, or enrollment.


a. an excuse


b. a good cause


c. both a or b


d. none of the above

99. Except under s. SPS 305.96, a notice of renewal shall be mailed by the department to a license, certification, registration, or enrollment holder at least _________ prior to the expiration of the license, certification, registration, or enrollment.


a. 14 calendar days

            b. 21 calendar days


c. 30 calendar days


d. 3 months

100. A person may apply to renew his or her license, certification, registration, or enrollment in accordance with par. (a) no later than ______ after expiration of the license, certification, registration, or enrollment.

a. one term

b. two terms


c. 1/2 term


d. none of the above
101. Any continuing education credit obtained after the expiration date of the license, certification, registration, or enrollment, but _______ to one term after the expiration date of the license, certification, registration, or enrollment as specified in Table 305.06, that is needed to fulfill the renewal obligations shall be documented and filed with the department on a form prescribed by the department.

a. after

b. prior


c. later


d. none of the above
102. A person who files for renewal of a license, certification or registration issued under s. SPS 305.68, 305.84 or 305.85, and who has not obtained all continuing education credit required for renewal shall comply with this chapter's requirements for _______receiving that license, certification or registration. 

a. predominantly


b. primarily


c. initially


d. none of the above
103. For a license, certification or registration issued under s. SPS 305.68, 305.84 or 305.85, the time period for obtaining continuing education credits shall extend from the _________of that license, certification or registration.


a. launch date to the termination date


b. commencement date to the finishing date


c. beginning date to the expiration date


d. none of the above
104. A person who files for renewal more than one term after expiration of his or her license, certification or registration may be reinstated by filing with the department an administrative fee of $________.

            a. 50

            b. 100

            c. 150

            d. 200

---------------------------------------------------------------------------------------------------------------------

SPS 305.08 Continuing education.
(1)  Program specifications.
(a) Only courses, programs and seminars approved in writing by the department shall be used for credit to fulfill continuing education requirements.

(b)
1. Requests for a course, program or seminar to be recognized for approval shall be submitted in writing to the department.

2. Requests for approval shall include sufficient information to determine if the course, program or seminar complies with this subsection.

3. The department shall review and make a determination on a request for approval within 21 calendar days of receipt of the request and information necessary to complete the review.

(c)
1. Thirty minutes of attendance in an approved course, program or seminar shall be deemed equal to 0.5 hours of acceptable continuing education.

2. Continuing education credit for attendance in approved continuing education courses, programs or seminars in other than 30 minute increments shall be rounded down to the next half hour.

(d) Courses, programs and seminars to be considered for approval towards continuing education credit shall relate to the skills and knowledge of one or more license, certification or registration categories.

(e)
1. The department may limit credit approval to specific license, certification, or registration categories when approving a course, program, or seminar for continuing education credit.

2.
a. Except as provided in subd. 2. c., the approval of a course, program or seminar for continuing education credit shall expire 5 years after the date of approval.

b. Approval of courses, programs or seminars for continuing education credit may be renewed. Renewal shall be in accordance with par. (b).

c. An approval of a course, program or seminar for continuing education credit under s. SPS 305.68 or subch. VIII shall expire either 3 years after the date of approval, or as otherwise specified in the approval.

3. The department may revoke the approval of a course, program or seminar for continuing education credit for any false statements, misrepresentation of facts or violation of the conditions on which the approval was based. The department may not revoke the approval of a course, program or seminar less than 30 calendar days prior to the course, program or seminar being held.

(f)
1. The individual or organization which had obtained the course, program or seminar approval shall maintain an attendance record of those individuals who have attended and completed the course, program or seminar for at least 5 years from the date of the course, program or seminar.

2. The attendance record shall include all of the following:

a. The course name.

b. The course identification number assigned by the department.

c. The date or dates the course was held or completed.

d. The name of each attendee.

e. The name of each license, certification or registration held by the attendee for which the course applies.

f. The license, certification or registration number assigned by the department of each attendee.

3. A copy of the attendance record shall be forwarded by the person or organization which had obtained the course, program or seminar approval to the department within 14 calendar days after completion of the course or program.

(g) Any individual or organization that obtains a course, program, or seminar approval for continuing education credit under s. SPS 305.68 or subch. VIII shall notify the department of any material changes to the information submitted for that approval.

(h) Any individual or organization that obtains a course, program, or seminar approval for continuing education credit under s. SPS 305.68 or subch. VIII shall notify the department if the course, program, or seminar is discontinued before the end of its approval period.

(2)  Evidence of compliance. Each license, certification or registration holder shall retain evidence of compliance with continuing education requirements throughout the license, certification or registration period for which continuing education credit was required for renewal of the license, certification or registration.

(a) The department shall accept as evidence of compliance original or copies of documents, certified by the individual or organization providing the course, program or seminar, indicating attendance and completion of the continuing education credit.

(b) The department may require a license, certification or registration holder to submit evidence of compliance for the continuing education credit which was required to renew the license, certification or registration.

(3)  Continuing educational cycle.
(a) Except as provided under s. SPS 305.07 (2) (b), for those license, certification or registration categories which require continuing educational credit for renewal, the license, certification or registration holder shall obtain the necessary amount of continuing educational credit prior to the expiration date of the license, certification, or registration as specified in Table 305.06.

(c) The attendance of a continuing education course, program or seminar in order to fulfill late renewal obligations under s. SPS 305.07 (2) (b) may not be credited toward more than one renewal cycle for a specific license, certification or registration.

105. Only ___________ approved in writing by the department shall be used for credit to fulfill continuing education requirements.

            a. courses 

            b. programs 

c. seminars


d. all of the above

106. The department shall review and make a determination on a request for approval within ___ calendar days of receipt of the request and information necessary to complete the review.
            a. 10
            b. 21
            c. 30
            d. 45
107. Thirty minutes of attendance in an approved course, program or seminar shall be deemed equal to ___ hours of acceptable continuing education.
            a. 0.25
            b. 0.5

c. 0.75


d. 1

108. Continuing education credit for attendance in approved continuing education courses, programs or seminars in other than ___ minute increments shall be rounded down to the next half hour.

            a. 10

            b. 20

            c. 30

            d. 60

109. An approval of a course, program or seminar for continuing education credit under s. SPS 305.68 or subch. VIII shall expire either ___ years after the date of approval, or as otherwise specified in the approval.


a. 1


b. 2



c. 3


d. 4


110. The individual or organization which had obtained the course, program or seminar approval shall maintain an attendance record of those individuals who have attended and completed the course, program or seminar for at least ___ years from the date of the course, program or seminar.


a. 1


b. 2



c. 3


d. 5

111. A copy of the attendance record shall be forwarded by the person or organization which had obtained the course, program or seminar approval to the department within ___ calendar days after completion of the course or program.


a. 14


b. 20



c. 30


d. 15
112. License, certification or registration categories which require continuing educational credit for renewal, the license, certification or registration holder shall obtain the necessary amount of continuing educational credit ______to the expiration date of the license, certification, or registration as specified in Table 305.06.


a. after


b. prior


c. subsequently


d. none of the above

113. The attendance of a continuing education course, program or seminar in order to fulfill late renewal obligations under s. SPS 305.07 (2) (b) _____ be credited toward more than one renewal cycle for a specific license, certification or registration.


a. may not


b. may


c. should


d. none of the above
---------------------------------------------------------------------------------------------------------------------

SPS 305.09 Examinations administered by the department.
(1)  For those license, certification or registration categories which require examination, the department shall conduct at least 4 license, certification or registration examinations annually for each license, certification or registration category at times and locations specified by the department.

(2) An application and fee for a license, certification or registration that requires an examination shall be received by the department at least 30 calendar days prior to the day of the examination. The department may postpone the applicant's appearance to another examination date if any of the following occur:

(a) The applicant fails to have the application on file with the department within the required time.

(b) The application information or required qualifications are incomplete.

(c) The examination center is filled to capacity.

(3) Upon verification of the application and the required qualifications, the department shall notify an applicant in writing of the date, time and place of the examination.

(4) 
(a) An applicant for license, certification or registration examination shall provide a photo identification or other appropriate evidence to gain admittance to an examination.

(b) An applicant shall bring to a license, certification or registration examination all necessary materials as specified by the department.

(c)
1. Except as provided in subd. 2., an applicant who fails to appear at a scheduled license, certification or registration examination without giving notice to the department at least 24 hours before the examination shall be considered to have failed the examination and shall be required to submit a re-examination application and examination fee.

2. The department may waive the 24-hour notification requirement of subd. 1. due to inclement weather, if the applicant notifies the department the day of the examination.

(5) The examination for a license, certification or registration shall be based on a job analysis of the knowledge, skills and abilities associated with the license, certification or registration. The examination shall include all of the following subject matter:

(a) Regulations and standards governing the work or activities required or permitted under the license, certification or registration.

(b) Theories, principles, and practices associated with the activities required or permitted under the license, certification or registration.

(6) 
(a) A grade of 70% or greater in each part of a license, certification or registration examination shall be considered a passing grade.

(b)
1. Except as provided in subd. 2., an applicant failing a part of a multi-part license, certification or registration examination shall be required to retake only those parts failed.

2. An applicant who does not pass all required parts of a multi-part license, certification or registration examination within one year after the date of the initial examination shall apply, retake and pass all parts of the license, certification or registration examination.

(7) 
(a) The department shall inform an applicant of the results of an examination in writing within 21 calendar days from the examination date.

(b) Upon notification of failing a license, certification or registration examination, an applicant may request another examination in accordance with s. SPS 305.01.

(c)
1. An applicant who has successfully passed a license, certification or registration examination may submit an application and the license, certification or registration fee as specified under s. SPS 305.02, Table 305.02 for the appropriate license, certification or registration within 3 months after the date the department had mailed the results of the examination.

2. Failure to apply for a license, certification or registration in accordance with subd. 1., shall necessitate the applicant to apply, retake and pass another license, certification or registration examination in order to obtain the license, certification or registration.

(8) 
(a) An applicant may request and make an appointment with the department to review his or her examination.

(b) The request to review an examination relating to subchs. II to VII, but not including s. SPS 305.68, and subchs. IX and X shall be accompanied by a $15 fee.

(c) An applicant who has failed his or her examination may not review the examination less than 7 calendar days before the applicant is scheduled to retake the examination.

(d) The department shall retain license, certification or registration examinations at least 2 months after the date of the examination.

114. An application and fee for a license, certification or registration that requires an examination shall be received by the department at least ___ calendar days prior to the day of the examination.

            a. 10

            b. 20

            c. 30

            d. 60

115. An applicant who fails to appear at a scheduled license, certification or registration examination without giving notice to the department at least ____ hours before the examination shall be considered to have failed the examination and shall be required to submit a re−examination application and examination fee.

            a. 12

            b. 48

            c. 24

            d. 21

116. The department shall inform an applicant of the results of an examination in writing within ____ calendar days from the examination date.

            a. 7

            b. 48

            c. 24

            d. 21

117. An applicant who has failed his or her examination may not review the examination less than ___ calendar days before the applicant is scheduled to retake the examination.

            a. 7

            b. 48

            c. 24

            d. 21

118. The department shall retain license, certification or registration examinations at least ____ months after the date of the examination.

            a. 1

            b. 2

            c. 3

            d. 4

119. A grade of ____% or greater in each part of a license, certification or registration examination shall be considered a passing grade.


a. 60


b. 70


c. 80


d. none of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.10 Denial, suspension and revocation.
(1)  Except as provided in sub. (2) pertaining to licenses or registrations for master plumbers, journeyman plumbers, cross connection control testers and utility contractors, the department may deny, suspend or revoke a license, certification, registration, or enrollment under this chapter in accordance with the following provisions:

(a) Reasons. The department may deny, suspend, or revoke a license, certification, registration, or enrollment under this chapter if the department determines that an applicant or holder of the license, certification, registration, or enrollment is responsible for any of the following:

1. Fails to meet the qualifications for the license, certification, registration, or enrollment.

2. Has obtained the license, certification, registration, or enrollment through fraud or deceit.

3. Has demonstrated negligence or incompetence in fulfilling the responsibilities or obligations of the license, certification, registration, or enrollment.

4. Has a conflict of interest in fulfilling the responsibilities or obligations under the license, certification, registration, or enrollment.

5. Has demonstrated misconduct in fulfilling the responsibilities or obligations under the license, certification, registration, or enrollment.

6. Has been arrested or convicted for a crime substantially related to the license, certification, registration, or enrollment.

7. Has a physical or mental impairment which prevents the applicant or holder from fulfilling the responsibilities or obligations under the license, certification, registration, or enrollment.

8. Has violated state, federal, or local laws or regulations relating to the conduct of the activities under the license, certification, registration, or enrollment.

9. Has been certified by the department of revenue under s. 73.0301, Stats., to be liable for taxes.

10. Has been delinquent in making court-ordered payments relating to the support of a child or former spouse pursuant to s. 101.022, Stats.

11. Has failed to comply with a subpoena or warrant issued by the department of workforce development or a county child support agency relating to paternity or child support proceedings pursuant to s. 101.022, Stats.

12. If registered or certified under ss. SPS 305.80 to 305.81, has performed any of the following:

a. Intentionally shifted costs, for the purpose of making ineligible costs appear to be eligible.

b. Intentionally billed for activities not undertaken at a specific cleanup site.

c. Rebated the deductible or structured a claim to provide a responsible party with a rebate or reimbursement of the deductible.

d. Intentionally submitted invoices or bills containing fraud, or submitted claims that were incomplete or contained fraud.

e. Conducted unnecessary, ineffective or incomplete remedial activities or services.

f. Attempted to defraud, including but not limited to false or double billing of clients for work conducted.

g. Charged a fee that the department determined was excessive, after written notice from the department that the fee was excessive and should not have been charged.

h. Exhibited a pattern of attempting and failing to complete remediations of PECFA sites.

i. Performed activities that result in both exceeding a cost cap established by the department, and submittal of a claim to the department for the cost in excess of that cost cap.

j. Failed to pay a financial penalty assessed under ch. NR 747 for a grossly ineligible cost.

13. If registered or certified under s. SPS 305.68 or subch. VIII, has performed any of the following:

a. Failed to maintain required records.

b. Denied the department access to requested records.

c. Failed to submit a required notice or report to the department, within a required time period.

d. Submitted false reports to the department.

e. Exhibited a pattern of submitting substantially inadequate reports.

14. If registered under s. SPS 305.31 as a dwelling contractor, has done or has been any of the following:

a. Failed to hold or to engage, as an employee, a person who holds a dwelling contractor qualifier certification under s. SPS 305.315 in obtaining a building permit.

b. Engaged in the construction of a dwelling without a uniform building permit when required under s. SPS 320.08.

c. Convicted of a crime related to the construction of a dwelling.

d. Adjudged bankrupt on 2 or more occasions.

(b) Notice of denial, suspension or revocation. Except as provided under s. 101.654 (4), Stats., relative to a dwelling contractor certification, and par. (c), a notice of denial, suspension, or revocation shall be sent to the applicant or the license, certification, registration, or enrollment holder. The notice shall include all of the following:

1. The basis for the denial, suspension or revocation, including the facts relied on by the department to make its decision and a citation of applicable statutes and administrative rules establishing the legal basis for the decision; and

2. A statement that the applicant or the license, certification, registration, or enrollment holder may file a request for an administrative hearing.

(c) Summary suspension. Under s. 227.51 (3), Stats., the department may summarily suspend any license, certification, registration, or enrollment if the department finds that immediate action is necessary for public health, safety, or welfare. The summary suspension of a license, certification, registration, or enrollment shall remain in effect until after a final decision is issued following a hearing.

(d) Hearing.
1. The request for an administrative hearing shall be received by the office of legal counsel of the department no later than 30 days following the date of mailing of the notice under par. (b), otherwise, the request for hearing shall be denied by the department.

Note: Requests for an administrative hearing may be mailed to the Department of Safety and Professional Services Legal Counsel, P.O. Box 7190, Madison, WI 53707-7190.

2. Hearings shall comply with the provisions of ch. 227, Stats.

(e) Surrender of license, certification, registration, or enrollment. A person whose license, certification, registration, or enrollment has been suspended or revoked shall surrender the license, certification, registration, or enrollment to the department upon request.

(f) Reinstatement.
1. Suspension.
a. A person whose license, certification, registration, or enrollment has been suspended may apply to have the license, certification, registration, or enrollment reissued only after the time set for suspension by the department or hearing examiner has passed and by complying with the conditions set forth in the suspension order.

b. The request to the department to have a suspended license, certification, registration, or enrollment reissued shall be made in writing.

c. The department may require a person whose license, certification, registration, or enrollment has been suspended to apply for the license, certification, registration, or enrollment by complying with all of the requirements for a new applicant, including paying the application fees and successfully passing an examination.

d. The department may impose conditions on the reissued license, certification, registration, or enrollment to assure compliance with this chapter.

2. Revocation. A person whose license, certification, registration, or enrollment has been revoked may not apply to receive such a license, certification, registration, or enrollment.

(2) Pursuant to s. 145.10, Stats., the department may suspend or revoke the license or registration of any master plumber, journeyman plumber, master plumber-restricted, journeyman plumber-restricted, utility contractor, or cross connection control tester in accordance with this subsection.

(a) General. The department may suspend or revoke a license or registration for any of the following reasons:

1. The practice of fraud or deceit in obtaining a license or registration.

2. Negligence, incompetence or misconduct in the practice or work allowed by the license or registration.

3. Failure to correct an installation for which the license or registration holder is responsible within the time prescribed by the department.

Note: Section 145.10 (1) (b), Stats., indicates that the correction of an installation must take place within 30 days following notification by the department of a violation.

4. Falsified information on an inspection form under s. 145.20 (5), Stats.

(b) Investigations. The department may conduct an investigation of any alleged violations of this chapter or chs. SPS 382 and 383. If it is determined that no further action is warranted, the department shall notify the persons affected. If the department determines that there is probable cause, it shall order a hearing and notify the persons affected.

(c) Summary suspension. Under s. 227.51 (3), Stats., the department may summarily suspend any license or registration if the department finds that immediate action is necessary for public health, safety or welfare. The summary suspension of a license or registration shall remain in effect until after a final decision is issued following a hearing.

(d) Hearings. The hearing for the suspension or revocation of a license or registration shall be conducted as a contested case hearing in accordance with ch. 227, Stats., and s. 145.10, Stats.

(e) Findings. The department may make findings and enter its order on the basis of the facts revealed by its investigation. Any findings as a result of petition or hearing shall be in writing and shall be binding unless appealed to the secretary.

1. Suspension. The period for suspension shall be determined by the hearing examiner or the department. The period for suspension may not exceed one year. A person whose license or registration has been suspended may apply to have the license or registration reinstated by filing a new application and payment of the appropriate fee specified in s. SPS 305.02.

2. Revocation. The period for revocation shall be determined by the hearing examiner or the department. The period for revocation shall not exceed one year. A person whose license or registration has been revoked shall be eligible for the license or registration only after the time set for revocation by department order has passed. A person whose license or registration has been revoked may apply to have the license or registration reinstated only after submitting a completed application for license or registration examination, if required, payment of the examination fee, passing of the examination and payment of the license or registration fee specified in s. SPS 305.02.

120. The department may deny, suspend or revoke a license, certification or registration under this chapter if the department determines that an applicant or holder of the license, certification or registration is responsible for any of the following:

a. Fails to meet the qualifications for the license, certification or registration.

b. Has obtained the license, certification or registration through fraud or deceit.

c. Has demonstrated negligence or incompetence in fulfilling the responsibilities or obligations of the license, certification or registration.

d. all of the above

121. The department may deny, suspend or revoke a license, certification or registration under this chapter if the department determines that an applicant or holder of the license, certification or registration is responsible for any of the following:

a. Has violated state, federal or local laws or regulations relating to the conduct of the activities under the license, certification or registration.

b. Has been certified by the department of revenue under s. 73.0301, Stats., to be liable for taxes.

c. Has been delinquent in making court−ordered payments relating to the support of a child or former spouse pursuant to s.101.02 (21) (a), (c) and (d), Stats.

d. all of the above

122. A person whose license, certification or registration has been _______ shall surrender the license, certification or registration to the department upon request.

            a. suspended 
            b. annulled


c. revoked


d. both a or c

123. The department may suspend or revoke a license or registration for any of the following reasons:


a. The practice of fraud or deceit in obtaining a license or registration.


b. Negligence, incompetence or misconduct in the practice or work allowed by the license or 
registration.


c. Failure to correct an installation for which the license or registration holder is responsible 
within the time prescribed by the department.


d. all of the above

124. The period for suspension shall be determined by the hearing examiner or the department. The period for suspension may not exceed _____ year. A person whose license or registration has been suspended may apply to have the license or registration reinstated by filing a new application and payment of the appropriate fee specified in SPS 305.02.

            a. 1

            b. 2

            c. 3

            d. 5

125 The period for revocation shall be determined by the hearing examiner or the department. The period for revocation shall not exceed ____ year.

            a. 1

            b. 2

            c. 3

            d. 5

126. A person whose license, certification, registration, or enrollment has been suspended may apply to have the license, certification, registration, or enrollment reissued only after the time set for suspension by the __________ has passed and by complying with the conditions set forth in the suspension order.


a. department


b. hearing examiner


c. building inspector


d. both a or b

---------------------------------------------------------------------------------------------------------------------

SPS 305.11 Responsibilities.
(1)  A person who holds a license, certification, registration, or enrollment under this chapter shall carry on his or her person the license, certification, registration, or enrollment issued by the department while performing or conducting the activity or activities permitted under the license, certification, registration, or enrollment.

(2) A person who holds a license, certification, registration, or enrollment under this chapter shall upon request of the department or its representative present the license, certification, registration, or enrollment for identification.

(3) The requirements of this section apply to licenses, certifications, registrations, or enrollment issued to an individual and not to a business.

SPS 305.12 Penalties. In addition to the forfeitures provided for in s. SPS 305.125, penalties for violations of the provisions of this chapter may be assessed in accordance with the respective penalty provisions in the statutes, depending upon the license, certification, registration, or enrollment category or activity involved.


127. A person who holds a license, certification, registration, or enrollment under this chapter shall carry on his or her person the license, certification, registration, or enrollment issued by the department while ​​​

 the activity or activities permitted under the license, certification, registration, or enrollment.


a. performing



b. conducting


c. both a or b



d. none of the above


128. A person who holds a license, certification, registration, or enrollment under this chapter shall upon request of the 

 present the license, certification, registration, or enrollment for identification.


a. department



b. representative


c. both a or b



d. none of the above. 
---------------------------------------------------------------------------------------------------------------------
Subchapter III — Dwellings, Structures and Sites
SPS 305.31 Dwelling contractor.
(1)  General. Pursuant to s. 101.654 (1) (a), Stats., no person may obtain a building permit for a one- or 2-family dwelling unless the person complies with all of the following, except as provided under s. 101.654 (1) (b) and (c) 2., Stats.:

(a) Holds one of the following credentials issued by the department:

1. A dwelling contractor certification.

2. A dwelling contractor — restricted certification.

(b) Holds or engages, as an employee, a person who holds a certification issued by the department as a dwelling contractor qualifier.

Note: Section 101.654 (1) (b), Stats., exempts an owner of a dwelling who resides or will reside in the dwelling and who applies for a building permit to perform work on the dwelling from obtaining a dwelling contractor financial responsibility certification.

Note: Section 101.654 (1) (c) 2., Stats., reads: “The continuing education requirements under par. (a) and the rules promulgated by the department under sub. (1m) do not apply to any person who holds a current license issued by the department at the time that the person obtains a building permit if the work the person does under the permit is work for which the person is licensed."

(2)  Application for dwelling contractor certification. A person applying for a dwelling contractor certification or a dwelling contractor — restricted certification shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a certification fee in accordance with s. SPS 305.02, Table 305.02.

Note: A dwelling contractor — restricted certification will be issued to an individual who applies using a bond of less than $25,000. The card issued by the department for a dwelling contractor — restricted certification will read “Financial Responsibility-by a bond under $25,000 Certification".

(3)  Qualifications for certification.
(a) A person applying for a dwelling contractor certification or a dwelling contractor — restricted certification shall provide all of the following:

1. A statement certifying that the person complies with the worker's compensation requirements and unemployment compensation requirements as specified under s. 101.654 (2), Stats.

2. Evidence of compliance with the liability or bond insurance requirements as specified under s. 101.654 (2) and (2m), Stats.

(b) The person applying for a dwelling contractor certification or a dwelling contractor — restricted certification shall be the owner of the contracting business, a partner in the contracting business applying on behalf of a partnership, or the chairman of the board or chief executive officer applying on behalf of the contracting corporation.

(4)  Responsibilities.
(a) A person who holds a dwelling contractor certification or a dwelling contractor — restricted certification shall comply with the responsibilities under s. 101.654 (4), Stats.

(b) For any construction project that requires a uniform building permit under s. SPS 320.08, a person who holds a dwelling contractor certification or a dwelling contractor — restricted certification may not commence construction until a permit is issued for the construction.

(c) For any construction project that involves installation or modification of a private onsite wastewater treatment system, a person who holds a dwelling contractor certification or a dwelling contractor — restricted certification may not commence construction until a sanitary permit is issued for the construction in accordance with s. SPS 383.21.

Note: Section 101.16 (4) (a), Stats., provides that: The person performing the work of installing equipment utilizing liquefied petroleum gas for fuel purposes shall furnish the user of the equipment a statement, the form of which shall be prescribed by the department showing the design, construction, location, and installation of the equipment conforms with the rules promulgated by the department under this section.

(5)  Renewal.
(a) Pursuant to s. 101.654 (3), Stats., a dwelling contractor certification or a dwelling contractor — restricted certification shall be valid for no longer than one year after the date of issuance.

(b)
1. A person may renew his or her dwelling contractor certification or dwelling contractor — restricted certification.

2. A dwelling contractor certification or a dwelling contractor — restricted certification shall be renewed in accordance with s. SPS 305.07.


129. No person may obtain a building permit for a one- or 2-family dwelling unless the person complies with all of the following, except as provided under s. 101.654 (1) (b) and (c) 2., Stats.: (a) Holds the following credential issued by the department:



a. A dwelling contractor certification.



b. A dwelling contractor — restricted certification.



c. both a or b



d. none of the above


130. A person applying for a dwelling contractor certification or a dwelling contractor — restricted certification shall provide all of the following:



a. A statement certifying that the person complies with the worker's compensation requirements 
and unemployment compensation requirements as specified under s. 101.654 (2), Stats.



b. Evidence of compliance with the liability insurance requirements as specified under s. 
101.654 
(2) and (2m), Stats.


c. Evidence of compliance with the bond insurance requirements as specified under s. 101.654 (2) 
and (2m), Stats.


d. all of the above

131. The person applying for a dwelling contractor certification or a dwelling contractor — restricted certification shall be the ___________________.


a. owner of the contracting business.


b. a partner in the contracting business applying on behalf of a partnership.


c. chairman of the board or chief executive officer applying on behalf of the contracting 
corporation.


d. any of the above

132. a dwelling contractor certification or a dwelling contractor — restricted certification shall be valid for no longer than 
 year after the date of issuance.


a. 1



b. 2



c. 3



d. 4

---------------------------------------------------------------------------------------------------------------------


SPS 305.315 Dwelling contractor qualifier.
(1)  General. The purpose of the dwelling contractor qualifier certification is to provide proof of fulfilling the continuing education obligations to the issuers of building permits as required under s. 101.654 (1) (a), Stats.

(2)  Application. A person applying for a dwelling contractor qualifier certification shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a certification fee in accordance with s. SPS 305.02, Table 305.02.

(c) Evidence that the person has completed at least 12 hours in an approved course in dwelling construction within one year prior to the date of application. The course shall include instruction in at least the following subject matter and one or more tests on at least the following subject matter:

1. Construction laws.

2. Construction codes.

3. Construction business practices.

(3)  Renewal.
(a)
1. A person may renew his or her certification as a dwelling contractor qualifier.

2. A dwelling contractor qualifier certification shall be renewed in accordance with s. SPS 305.07.

(b) The renewal of a certification as a dwelling contractor qualifier shall be contingent upon the individual completing at least 12 hours of approved continuing education prior to the expiration of the certification as specified in s. SPS 305.08 and Table 305.06, except as provided in sub. (5).

(c) Continuing education shall be obtained through any of the following means:

1. Attending seminars, corporate in-house courses, workshops, or professional or technical presentations made at meetings, conventions, or conferences meeting the requirements of sub. (4). Attendance may be in person or via remote classroom where a provider is available to participate to comment and answer questions.

2. Teaching a continuing education program that meets the requirements of sub. (4). A person who teaches may only receive credit for the initial offering or presentation of a course or program during a biennium.

3. Participating in continuing education program that does not meet in person that meets the requirements of sub. (4) including the completion of interactive short courses or tutorials, delivery of educational programs and courses on CD-ROM or the Internet, webinars, or correspondence courses.

4. Attending technical or professional society meetings that meet the requirements of sub. (4). A maximum of 6 hours per biennial renewal cycle may be counted toward continuing education requirements.

(d) Each certification holder shall retain evidence of compliance with continuing education requirements in accordance with s. SPS 305.08 (2).

(4)  Standards for continuing education. Only courses, programs, meetings, and seminars approved by the department in accordance with s. SPS 305.08 shall be used to fulfill continuing education requirements for renewal of a dwelling contractor qualifier certification. Continuing education shall meet all of the following criteria:

(a) Include instruction in an organized method of learning contributing directly to the professional competency of the certification holder and pertaining to subject matters that integrally relate to the practice of the profession. The instruction shall include amplification, evaluation, examples, and explanation of the course subject matter to the certification holder.

(b) Be conducted by individuals or entities which have specialized education, training, or experience in the subject matter of the program.

(c) Include at least 10 review questions for each credit hour if the continuing education credit is obtained through distance education as specified in sub. (3) (c) 3. The department may require submittal of the review questions for approval.

(d) Include at least 30 questions for each credit hour if the continuing education course, program, or seminar is predominantly question-and-answer based. A minimum score of 70 percent is required to receive continuing education credit. The department may require submittal of the questions for approval.

(e) Include any of the following content:

1. Construction laws and codes.

2. Construction safety topics that are directly related to operating a residential construction business.

3. Business management, estimating, and job costing.

4. Changes in construction and business management laws.

5. Design and building science.

6. Contracts, liability, and risk management.

7. Marketing and sales topics regarding the provision of accurate and ethical information to the customer.

8. Project management, personnel management, and scheduling.

9. Carpentry, concrete, swimming pool installation, damp proofing a basement, excavation, insulation work, masonry work, painting and decorating, roofing, siding and gutters, screen or storm sash installation, tile and marble work, or house wrecking.

10. Accounting, finance, and taxes.

11. Communication and customer service.

12. Environmental or land use analysis.

13. Zoning and governance policies and procedures.

14. Mold, lead, asbestos, or other hazardous material mitigation.

15. Energy codes and energy conservation methods applicable to residential structures.

16. Other subject matter approved by the department.

(5)  Waiver. A person who holds a certification as a dwelling contractor qualifier may apply to the department for waiver of the continuing education requirements under sub. (3) (b) on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

133. Dwelling contractor qualifier. Evidence that the person has completed at least 12 hours in an approved course in dwelling construction within one year prior to the date of application. The course shall include instruction in at least the following subject matter and one or more tests on at least the following subject matter:


a. Construction laws.


b. Construction codes.


c. Construction business practices.

d. all of the above
134. The renewal of a certification as a dwelling contractor qualifier shall be contingent upon the individual completing at least ____ hours of approved continuing education prior to the expiration of the certification.

a. 6

b. 10


c. 12


d. 24

135. STANDARDS FOR CONTINUING EDUCATION. Include at least ____ review questions for each credit hour if the continuing education credit is obtained through distance education as specified in sub. (3) (c) 3. The department may require submittal of the review questions for approval.

a. 6


b. 10


c. 20


d. 30

136. STANDARDS FOR CONTINUING EDUCATION. Include at least ____ questions for each credit hour if the continuing education course, program, or seminar is predominantly question-and-answer based. 


a. 6


b. 10


c. 20


d. 30
137.  STANDARDS FOR CONTINUING EDUCATION. A minimum score of ___ percent is required to receive continuing education credit. The department may require submittal of the questions for approval.

a. 60

b. 70


c. 80


d. 90

---------------------------------------------------------------------------------------------------------------------

SPS 305.40 Electricians.
(1)  Except as provided under s. 101.862 (4), Stats., no person as of April 1, 2014, may install, repair, or maintain electrical wiring unless the person holds a license or registration issued by the department or is enrolled by the department as one of the following:

(a) A licensed master electrician.

(b) A licensed residential master electrician.

(bm) A registered master electrician.

(c) A licensed journeyman electrician.

(d) A licensed industrial journeyman electrician.

(e) A licensed residential journeyman electrician.

(f) An enrolled registered electrician.

(g) A registered electrical apprentice.

(h) A registered industrial electrical apprentice.

(i) A registered residential electrical apprentice.

(2) 
(a) Except as provided in par. (b), the electrical wiring activities that may be undertaken by a person who holds a license or registration as a licensed residential master electrician, a licensed residential journeyman electrician or a registered residential electrical apprentice shall be limited to wiring associated with dwellings, dwelling units and detached accessory buildings and structures serving the dwellings or the dwelling units, such as garages, carports, gazebos, and swimming pools.

(b) A person who holds a license or registration as a licensed residential master electrician, a licensed residential journeyman electrician, or a registered residential electrical apprentice may perform electrical wiring not associated with dwellings and dwelling units, provided the person is under the direct supervision of a licensed master electrician, a registered master electrician, or a licensed journeyman electrician.

(3) 
(a) The electrical wiring activities that may be undertaken by a person who holds a license or registration as a licensed industrial journeyman electrician or a registered industrial electrical apprentice shall be limited to wiring within the facilities or properties of the business establishment where the person is employed.

(b) A person who holds a license or registration as a licensed industrial journeyman electrician or a registered industrial electrical apprentice may perform electrical wiring not associated with the facilities or properties of the business establishment where the person is employed, provided the person is under the direct supervision of a licensed master electrician, a registered master electrician, or a licensed journeyman electrician.

(4) 
(a)
1. A person who holds a license as a licensed journeyman electrician or a registration as a registered electrical apprentice shall perform electrical wiring activities under the general supervision of a person who holds a license as a licensed master electrician or a registration as a registered master electrician, except as provided in subd. 2.
2. A person who holds a license as a licensed journeyman electrician or a registration as a registered electrical apprentice may perform electrical wiring activities under the general supervision of a person who holds a license as a licensed residential master electrician provided the wiring is associated with dwellings, dwelling units and detached accessory buildings and structures serving the dwellings or the dwelling units, such as garages, carports, gazebos, and swimming pools.

(b) A person who holds a license as a licensed industrial journeyman electrician or a registration as a registered industrial electrical apprentice shall perform electrical wiring within the facilities or properties of the business establishment where the person is employed under the general supervision of a person who holds a license as a licensed master electrician or a registration as a registered master electrician.

(c) A person who holds a license as a licensed residential journeyman electrician or a registration as a registered residential electrical apprentice shall perform electrical wiring activities associated with dwellings and dwelling units under the general supervision of a person who holds a license either as a licensed master electrician or a licensed residential master electrician, or holds a registration as a registered master electrician.

(d)
1. Except as provided in subd. 2., a person who is enrolled as a registered electrician shall perform electrical wiring activities under the direct supervision of a person who holds a license either as a licensed master electrician or a licensed journeyman electrician, or holds a registration as a registered master electrician.

2. A person who is enrolled as a registered electrician may perform electrical wiring activities under the direct supervision of a person who holds a license as a licensed residential master electrician or licensed residential journeyman electrician provided the wiring is associated with dwellings, dwelling units and detached accessory buildings and structures serving the dwellings or the dwelling units, such as garages, carports, gazebos, and swimming pools.

3. A person who is enrolled as a registered electrician may perform electrical wiring activities under the direct supervision of a person who holds a license as a licensed industrial journeyman electrician provided the wiring is within the facilities or properties of the business establishment where the industrial journeyman electrician is employed.

(5) At any time, for any electrical wiring project, the total number of registered beginning electricians at an installation site may not exceed twice the total number of licensed or registered master electricians and journeyman electricians at the installation site plus two.

History: Cr. Register, October, 1996, No. 490, eff. 11-1-96; am. Register, April, 2000, No. 532, eff. 5-1-00; CR 05-011: r. (2) Register July 2005 No. 595, eff. 8-1-05; CR 09-028: r. and recr. Register August 2010 No. 656, eff. 4-1-13; EmR1415: emerg. am. (2) (b), (3) (b), (4) (a) 1., (b), (c), (d) 1., (5), eff. 8-6-14; CR 14-049: am. (2) (b), (3) (b), (4) (a) 1., (b), (c), (d) 1., (5) Register July 2015 No. 715, eff. 8-1-15; CR 16-093: am. (1) (intro.), (f), (4) (d) Register June 2018 No. 750, eff. 8-1-18; CR 19-118: am. (1) (intro.) Register May 2020 No. 773, eff. 6-1-20; correction in (1) (intro.) made under s. 35.17, Stats., Register May 2020 No. 773.

SPS 305.405 Terminology. For the purposes of this subchapter, electrical contractor certifications and master and journeyman electrician certifications issued prior to April 1, 2014, shall be considered to be licenses.


138. Electrical wiring activities that may be undertaken by a person who holds a license or registration as a 
     

 shall be limited to wiring associated with dwellings, dwelling units and detached accessory buildings.


a. licensed residential master electrician



b. licensed residential journeyman electrician 



c. registered residential electrical apprentice


d. any of the above

139. At any time, for any electrical wiring project, the total number of registered beginning electricians at an installation site may not exceed twice the total number of licensed or registered master electricians and journeyman electricians at the installation site______.


a. plus one


b. plus two



c. plus three



d. plus four

-----------------------------------------------------------------------------------------------------------------------------------
SPS 305.41 Electrical contractors.
(1)  General.
(a) Pursuant to s. 101.862, Stats., no person or entity, as of April 1, 2014, may engage in the business or offer to engage in the business of installing, repairing, or maintaining electrical wiring unless the person or entity holds a license or certification issued by the department as a licensed electrical contractor, except as provided under s. 101.862 (4), Stats.

(b) For the purposes of this section, unexpired electrical contractor certifications issued prior to April 1, 2014, shall be considered licenses.

Note: 2007 Wisconsin Act 63 changed the nomenclature from electrical certifications to electrical licenses.

Note: Section 101.862 (4), Stats., exempts the following:

(a) A residential property owner who installs, repairs, or maintains electrical wiring on premises that the property owner owns and occupies as a residence, unless a license or registration issued by the department is required by local ordinance.

(am) A person engaged in installing electrical wiring within an existing industrial facility or existing manufacturing facility owned or leased by the person or by an entity for which the person is an agent or employee.

(b) A person engaged in maintaining or repairing electrical wiring within an existing facility or on premises owned or leased by the person or by an entity for which the person is an agent or employee.

(c) A person engaged in installing, repairing, or maintaining electrical wiring, apparatus, or equipment for elevators and escalators.

(d) A person engaged in installing, repairing, or maintaining equipment or systems that operate at 100 volts or less.

(e) A person engaged in installing, repairing, or maintaining an electronic system designed to monitor a premises for the presence of an emergency, to issue an alarm for an emergency, or to detect and summon aid for an emergency.

(f) A person engaged in installing, repairing, or maintaining electrical wiring of transmission facilities that support telecommunications service, as defined in s. 182.017 (1g) (cq), that is provided by a telecommunications provider, as defined in s. 196.01 (8p).

(g) A person engaged in installing, repairing, or maintaining manufactured equipment or utilization equipment, including ballasts, electric signs and luminaires, or any other manufactured system that is designed to provide a function that is not primarily electrical in nature if the installation, repair, or maintenance only involves the modification or installation of conductors beyond the disconnecting point or beyond the last junction, pull, or device box, whichever is nearer to the point where the person is performing the installation, repair, or maintenance that are considered part of the equipment or system under this paragraph. For purposes of this paragraph, any conductor going from the disconnecting point or the nearest junction, pull, or device box to the manufactured equipment or utilization equipment or the manufactured system is considered part of the equipment or system.

(h) A person engaged in installing electrical wiring for components of a manufactured home, as defined in s. 101.91 (2), or a manufactured building, as defined in s. 101.71 (6), while the manufactured home or the manufactured building is at or in the facility at which it is being manufactured.

(i) A person employed by an electricity provider, or a subcontractor of an electricity provider, who installs, repairs, or maintains electrical wiring for equipment that is installed in the normal course of providing utility services by the electricity provider.

(j) A person engaged in installing, repairing, or maintaining electrical wiring that provides lighting or signals for public thoroughfares and for public airports.

(k) A person engaged in installing, repairing, or maintaining electric lines on the utility side of substations and other distribution facilities owned or operated by customers or members of electricity providers.

(L) A person employed by an electricity provider, or a subcontractor of an electricity provider, who installs, repairs, or maintains primary voltage electric facilities that are owned by the electricity provider's customers or members and that operate at greater than 600 volts.

(m) A person employed by an electricity provider, or a subcontractor of an electricity provider, who restores service during an emergency.

(n) A person who installs a replacement for an existing switch or outlet if the replacement switch or outlet has a rating of not more than 20 amperes.

(p) A person engaged in installing, repairing, or maintaining a private on-site wastewater treatment system, as defined in s. 145.01 (12), if the activity only involves installing or modifying a conductor going from the system's junction, pull, or device box to the nearest disconnecting point and the conductor is buried with the system.

(q) A person engaged in installing, repairing, or maintaining a pump for a well if the activity only involves installing or modifying a conductor going from the pump's junction, pull, or device box to the nearest disconnecting point and the conductor is buried with the pump.

Note: As of April 1, 2014, the department will no longer issue or renew a certification for electrical contractor-restricted. The department will issue an electrical contractor license to those individuals who hold an electrical contractor-restricted certification prior to April 1, 2014. The issuance of the license will indicate the same expiration date as the current restricted-certification.

(2)  Application for licensure. A person applying for an electrical contractor license shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a license fee in accordance with s. SPS 305.02, Table 305.02.

(c) A statement certifying compliance with worker's compensation requirements under ch. 102, Stats., and unemployment compensation requirements under ch. 108, Stats.

(3)  Qualifications for licensure. The person applying for an electrical contractor license shall be the owner of the contracting business, a partner in the contracting business applying on behalf of the partnership, or the chairman of the board or chief executive officer applying on behalf of the contracting corporation.

(4)  Responsibilities.
(a) A licensed electrical contractor shall utilize the appropriately licensed or registered individuals to construct, install, repair or maintain electrical wiring.

(b) For any electrical installation that requires a uniform building permit under s. SPS 320.08, a person who holds an electrical contractor license may not commence installation of electrical wiring until a permit is issued for the installation.

Note: Chapters SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

(d) A person or entity that holds a electrical contractor license shall include his or her license number on all construction bids and contracts.

(5)  Renewal.
(a) A person may renew his or her license as an electrical contractor.

(b) An electrical contractor license shall be renewed in accordance with s. SPS 305.07.

140. No person or entity, as of April 1, 2014, may engage in the business or offer to engage in the business of installing, repairing, or maintaining electrical wiring unless the person or entity holds a license or certification issued by the department as a licensed _____________.


a. master electrician

b. journeyman electrician


c. electrical contractor


d. all of the above

141. A licensed electrical contractor shall utilize the appropriately ________ to construct, install, repair or maintain electrical wiring.

a. licensed


b. registered individuals

c. all of the above


d. none of the above
-------------------------------------------------------------------------------------------------------------------------------
SPS 305.43 Master electricians.
(1)  Application for examination. A person applying to take a master electrician license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(2)  Qualifications for examination. A person applying for a master electrician license examination shall have at least one of the following qualifications:

(a) A bachelor's degree or master's degree in electrical engineering.

(b) Twelve months of experience in installing, repairing, and maintaining electrical wiring while being licensed as a journeyman electrician.

(c) Experience in installing, repairing, and maintaining electrical wiring during a period of not less than 60 months, with at least 10,000 hours of experience over that period.

(3)  Examination. A person seeking to obtain a master electrician license shall take and pass an examination in accordance with s. SPS 305.09.

(4)  Application for certification. Upon notification of the successful passage of the examination for a master electrician license, a person may obtain the license by submitting an application and the license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(5)  Responsibilities.
(a) For any electrical installation that requires a uniform building permit under s. SPS 320.08, a person who holds a master electrician license may not commence installation of electrical wiring until a permit is issued for the installation.

Note: Chs. SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

(b) A person who as a licensed master electrician is responsible for the installation, repair or maintenance of electrical wiring shall utilize the appropriately licensed or registered individuals to construct, install, repair or maintain electrical wiring.

(6)  Exchanges.
(a) A person who holds a master electrician license may, upon application to the department, exchange his or her master electrician license for a journeyman electrician license.

(b) A person who has exchanged his or her master electrician license for a journeyman electrician license may, upon application to the department, exchange his or her journeyman electrician license for a master electrician license in accordance with the following provisions:

1. The person holds a valid journeyman electrician license.

2. The person submits with the application a copy of his or her former master electrician license.

3. The license fee for a master electrician specified in s. SPS 305.02, Table 305.02 is submitted.

(7)  Renewal.
(a)
1. A person may renew his or her license as a master electrician.

2. A master electrician license shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a license as a licensed master electrician shall be contingent upon the master electrician obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a licensed master electrician may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

142. Experience in installing, repairing, and maintaining electrical wiring during the time period required by the department, with at least __________ hours of experience over that period.

            a. 100

            b. 5,000
            c. 1,000

            d. 10,000
143. A person applying for a master electrician certification examination shall have at least _______ months in electrical construction work.

            a. 30
            b. 60
            c. 84
            d. none of the above

144. A person who as a licensed master electrician is responsible for the installation, repair or maintenance of electrical wiring shall utilize the appropriately licensed or registered individuals to ____________ electrical wiring.

            a. construct 

            b. install
            c. repair or maintain

            d. All of the above
145. The renewal of a license as a licensed master electrician shall be contingent upon the master electrician obtaining at least ____ hours of acceptable continuing education prior to the expiration date of the license

            a. 6

            b. 12

            c. 18

            d. 24

---------------------------------------------------------------------------------------------------------------------

SPS 305.44 Journeyman electricians.
(2)  Application for examination. A person applying to take a journeyman electrician license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination. A person applying for a journeyman electrician license examination shall have at least one of the following qualifications:

(a) Completion of a construction electrician apprenticeship program in installing, repairing, and maintaining electrical wiring that has a duration of at least 3 years and that is approved by the U.S. department of labor or by the department of workforce development.

(b) Experience in installing, repairing, and maintaining electrical wiring during a period of not less than 48 months, with at least 8,000 hours of experience over that period. For purposes of meeting this requirement, a degree or diploma from a 2-year program in a school of electrical engineering or from a 2-year program in an accredited technical or vocational school in an electrical-related program shall be accepted by the department as being equivalent to 12 months and 2,000 hours of experience.

(4)  Examination. A person seeking to obtain a journeyman electrician license shall take and pass an examination in accordance with s. SPS 305.09.

(5)  Application for certification. Upon notification of the successful passage of the examination for a journeyman electrician license, a person may obtain the license by submitting an application and the license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(6)  Renewal.
(a)
1. A person may renew his or her license as a journeyman electrician.

2. A journeyman electrician license shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a license as a licensed journeyman electrician shall be contingent upon the journeyman electrician obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a licensed journeyman electrician may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

3. A person who initially obtained his or her journeyman electrician license without having successfully passed a journeyman electrician license examination and whose request to renew his or her license is denied because of the failure to fulfill the continuing education requirements of subd. 1., shall be required to take and pass the journeyman electrician license examination in order to reacquire the journeyman electrician license.

146. QUALIFICATIONS FOR EXAMINATION. A person applying for a journeyman electrician license examination shall have at least one of the following qualifications: Completion of a construction electrician apprenticeship program in installing, repairing, and maintaining electrical wiring that has a duration of at least ____ years and that is approved by the U.S. department of labor or by the department of workforce development.


a. 2
b. 3
c. 4
d. 5
147. QUALIFICATIONS FOR EXAMINATION. Experience in installing, repairing, and maintaining electrical wiring during a period of not less than 48 months, with at least ______ hours of experience over that period. 

a. 2,000


b. 5,000


c. 8,000


d. none of the above

148. QUALIFICATIONS FOR EXAMINATION. For purposes of meeting this requirement, a degree or diploma from a 2-year program in a school of electrical engineering or from a 2-year program in an accredited technical or vocational school in an electrical-related program shall be accepted by the department as being equivalent to 12 months and _______ hours of experience.

a. 2,000


b. 5,000


c. 8,000


d. none of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.45 Registered electricians.
(1)  Application for enrollment. A person applying for enrollment as a registered electrician shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(2)  Renewal.
(a) A person may renew his or her enrollment as a registered electrician.

(b) A registered electrician enrollment shall be renewed in accordance with s. SPS 305.07.

(c)
1. The renewal of a registered electrician enrollment shall be for a term of one year.

2. The renewal of an enrollment as a registered electrician shall be contingent upon the registered electrician obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the enrollment as specified in s. SPS 305.08 and Table 305.06. This subdivision does not apply to an individual who, at the time of applying for renewal of an enrollment, is participating in a youth apprenticeship program under s. 106.13, Stats.

3. A person enrolled as a registered electrician may apply to the department for waiver of the continuing education requirements under subd. 2. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

4. A person who initially obtained a registered electrician enrollment and fails to renew the enrollment shall be required to complete at least 24 hours of acceptable continuing education within one year prior to date of application to reacquire the registered electrician enrollment. This subdivision does not apply to an individual who, at the time of applying for reacquisition of an enrollment, is participating in a youth apprenticeship program under s. 106.13, Stats.

149. The renewal of a registered electrician enrollment shall be for a term of _____ year.
a. one
b. two
            c. four
            d. none of the above
150. The renewal of an enrollment as a registered electrician shall be contingent upon the registered electrician obtaining at least ___ hours of acceptable continuing education prior to the expiration date of the enrollment.


a. 6


b. 12


c. 18


d. 24

---------------------------------------------------------------------------------------------------------------------

SPS 305.46 Electrical apprentices.
(1)  Application for registration. A person applying for registration as a registered electrical apprentice, a registered industrial electrical apprentice, or a registered residential electrical apprentice shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(2)  Qualifications. A person applying for an electrical apprentice, an industrial electrical apprentice, or a residential electrical apprentice registration shall be entered into an electrical apprentice contract recognized under ch. 106, Stats.

(3)  Responsibilities. A person who installs, repairs, or maintains electrical wiring as a registered electrical apprentice, registered industrial electrical apprentice, or registered residential electrical apprentice may do so as long as he or she is entered into an electrical apprentice contract recognized under ch. 106, Stats.

(4)  Renewal.
(a) A person may renew his or her registration as an electrical-apprentice, industrial electrical apprentice, or residential electrical apprentice.

(b)
1. An electrical-apprentice, industrial electrical apprentice, or residential electrical apprentice registration shall be renewed in accordance with s. SPS 305.07.

2. The renewal of registration as an electrical apprentice, industrial electrical apprentice, or residential electrical apprentice shall be contingent upon the person submitting evidence that the person is entered into an electrical apprentice contract recognized under ch. 106, Stats.

SPS 305.47 Reciprocity. As provided under s. 101.874, Stats., the department may enter into a reciprocal agreement with another state under which credentials issued to electricians, electrical apprentices, electrical contractors, and electrical inspectors by either state are recognized as comparable credentials by the other state.
151. A person applying for an ___________ registration shall be entered into an electrical apprentice contract recognized under ch. 106, Stats.


a. electrical apprentice


b. industrial electrical apprentice


c. residential electrical apprentice

d. all of the above
---------------------------------------------------------------------------------------------------------------------

SPS 305.63 Dwelling inspectors.
(1)  General.
(a) Pursuant to ss. 101.66 (2) and 101.96 (1), Stats., no person may conduct the inspection of one- and 2-family dwellings for the purpose of administering and enforcing chs. SPS 320 to 325, unless the person holds one or more of the following certifications issued by the department:

1. Certified UDC-construction inspector.

2. Certified UDC-electrical inspector.

3. Certified UDC-HVAC inspector.

4. Certified UDC-plumbing inspector.

5. Certified soil erosion inspector.

6. Certified commercial electrical inspector.

7. Certified commercial plumbing inspector.

Note: Pursuant to s. 101.14 (1) (bm), Stats., deputies of the department may perform inspections for smoke detector installation and maintenance without holding a certification issued by the department.

(b) A person who holds a certification as a:

1. Certified UDC-construction inspector may inspect one- and 2-family dwellings for the purpose of administering and enforcing chs. SPS 320 to 322.

2. Certified UDC-electrical inspector or certified commercial electrical inspector may inspect one- and 2-family dwellings for the purpose of administering and enforcing chs. SPS 316 and 324.

3. Certified UDC-HVAC inspector may inspect one- and 2-family dwellings for the purpose of administering and enforcing ch. SPS 323.

4. Certified UDC-plumbing inspector or certified commercial plumbing inspector may inspect one- and 2-family dwellings for the purpose of administering and enforcing chs. SPS 325, 382 and 384.

5. Certified soil erosion inspector may inspect one- and 2-family dwellings for the purpose of administering and enforcing s. SPS 321.125.

(2)  Application for examination. A person applying to take a UDC-construction inspector certification examination, UDC-electrical inspector certification examination, UDC-HVAC inspector certification examination, or UDC-plumbing inspector certification examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Examination. Except as provided in sub. (4) (a) 2., (b) 2. and (c) 2., a person seeking to obtain a UDC-construction inspector certification, UDC-electrical inspector certification, UDC-HVAC inspector certification, or UDC-plumbing inspector certification shall take and pass an examination in accordance with s. SPS 305.09.

(4)  Application for certifications.
(a) UDC-construction.
1. Upon notification of the successful passage of the examination for a UDC-construction inspector certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

2. A person may apply for certification as a certified UDC-construction inspector by submitting all of the following:

a. An application, an application fee and the certification fee in accordance with ss. SPS 305.01 and 305.02.

b. Evidence that the person holds a certification as a commercial building inspector issued under s. SPS 305.61.

(b) UDC-electrical.
1. Upon notification of the successful passage of the examination for a UDC-electrical inspector certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

2. A person may apply for certification as a certified UDC-electrical inspector by submitting an application, an application fee and the certification fee in accordance with ss. SPS 305.01 and 305.02 and one of the following:

a. Evidence that the person holds a certification as a journeyman electrician issued under s. SPS 305.44.

b. Evidence that the person holds a certification issued under the International Association of Electrical Inspectors/National Fire Protection Association certification program as a certified electrical inspector-residential.

c. Evidence that the person holds a license as a residential master electrician issued under s. SPS 305.435.

(c) UDC-HVAC.
1. Upon notification of the successful passage of the examination for a UDC-HVAC inspector certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

2. A person may apply for certification as a certified UDC-HVAC inspector by submitting an application, an application fee and the certification fee in accordance with ss. SPS 305.01 and 305.02 and one of the following:

a. Evidence that the person holds a certification as an HVAC qualifier issued under s. SPS 305.71.

b. Evidence that the person holds a certification as a commercial building inspector issued under s. SPS 305.61.

(d) UDC-plumbing. Upon notification of the successful passage of the examination for a UDC-plumbing inspector certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(e) Soil erosion. A person may apply for certification as a certified soil erosion inspector by submitting all of the following:

1. An application, an application fee and the certification fee in accordance with ss. SPS 305.01 and 305.02.

2. Evidence that the person has completed an approved training course on soil erosion control standards.

(5)  Responsibilities.
(a) A person who inspects one- and 2-family dwellings as a certified UDC-construction inspector, certified UDC-electrical inspector, certified UDC-HVAC inspector, certified UDC-plumbing inspector, or certified soil erosion inspector shall do all of the following:

1. Maintain a record of the inspections made including the dates and the findings of the inspections.

2. Document any compliance deficiencies in the inspection report, and include the specific code reference or citation relative to the deficiency.

3. Provide a copy of the inspection report to the property owner or his or her agent.

4. Make inspection records available to the department upon request.

(b) A person who inspects one- and 2- family dwellings as a certified UDC-electrical inspector shall contact and indicate to the electrical utility, cooperative, or other entity furnishing electric current when an electrical service installation complies with ch. SPS 316 within 2 business days of the determination of compliance.

(6)  Limitations. A person who inspects the installation of manufactured homes as a certified UDC-construction inspector may not perform the inspection of a particular manufactured home if the person is, is employed by, or is an independent contractor of any of the following:

(a) A manufactured home manufacturer who was directly involved in the sale of the particular manufactured home.

(b) A manufactured home salesperson who was directly involved in the sale of the particular manufactured home.

(c) An installer who was directly involved in the sale of the particular manufactured home.

(7)  Renewal.
(a)
1. A person may renew his or her certification as a UDC-construction inspector, UDC-electrical inspector, UDC-HVAC inspector, UDC-plumbing inspector or soil erosion inspector.

2. An inspector certification under this section shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a certification as a certified UDC-construction inspector, certified UDC-electrical inspector, certified UDC-HVAC inspector or certified UDC-plumbing inspector shall be contingent upon the inspector obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the certification as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a certification as a certified UDC-construction inspector, certified UDC-electrical inspector, certified UDC-HVAC inspector, or certified UDC-plumbing inspector may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

3. A person who initially obtained his or her UDC-construction inspector certification or UDC-HVAC inspector certification by providing evidence of certification as a commercial building inspector and whose request to renew his or her certification is denied because of the failure to fulfill the continuing education requirements of subd. 1., shall be required to take and pass the UDC-construction inspector certification examination or UDC-HVAC inspector certification examination in order to reacquire the respective UDC inspector certification.

152. No person may conduct the inspection of one− and 2−family dwellings for the purpose of administering and enforcing SPS 320 to 325, unless the person holds one or more of the following certifications issued by the department:


a. Certified UDC−construction inspector.


b. Certified UDC−electrical inspector.


c. Certified UDC−HVAC inspector.


d. any of the above


153. A person who inspects one- and 2-family dwellings as a certified UDC-construction inspector, certified UDC-electrical inspector, certified UDC-HVAC inspector, certified UDC-plumbing inspector, or certified soil erosion inspector shall do all of the following:



a. Maintain a record of the inspections made including the dates and the findings of the inspections.



b. Document any compliance deficiencies in the inspection report, and include the specific code reference 
or citation relative to the deficiency.



c. Provide a copy of the inspection report to the property owner or his or her agent.


d. all of the above

154. No person may conduct the inspection of one− and 2−family dwellings for the purpose of administering and enforcing SPS 320 to 325, unless the person holds one or more of the following certifications issued by the department:

a. Certified UDC−plumbing inspector.


b. Certified soil erosion inspector.


c. Certified commercial electrical inspector.


d. any of the above

155. The renewal of a certification as a certified UDC-construction inspector, certified UDC-electrical inspector, certified UDC-HVAC inspector or certified UDC-plumbing inspector shall be contingent upon the inspector obtaining at least ____ hours of acceptable continuing education prior to the expiration date of the certification 


a. 6
b. 12
c. 18
d. 24
---------------------------------------------------------------------------------------------------------------------

SPS 305.66 POWTS inspectors.
(1)  General. A person who holds a certification issued by the department as a certified POWTS inspector or a commercial plumbing inspector may inspect privately owned wastewater treatment systems, POWTS, for the purpose of administering and enforcing the provisions of chs. SPS 381 to 387, as an authorized representative of the department or a local governmental unit.

(2)  Application for examination. A person applying to take a POWTS inspector certification examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Examination. Except as provided in sub. (4) (b), a person seeking to obtain a POWTS inspector certification shall take and pass an examination in accordance with s. SPS 305.09.

(4)  Application for certification.
(a) Upon notification of the successful passage of the examination for a POWTS inspector certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(b) A person may apply for a certification as a certified POWTS inspector by submitting an application, an application fee and the certification fee in accordance with ss. SPS 305.01 and 305.02 and one of the following:

1. Evidence that the person holds a license as a master plumber issued under s. SPS 305.91.

2. Evidence that the person holds a license as a master plumber-restricted service issued under s. SPS 305.92.

3. Evidence that the person holds a license as a journeyman plumber issued under s. SPS 305.93.

4. Evidence that the person holds a license as a journeyman plumber-restricted service issued under s. SPS 305.94.

(5)  Responsibilities. A person who inspects privately owned wastewater treatment systems as a certified POWTS inspector shall:

(a) Maintain a record of the inspections made including the dates and the findings of the inspections;

(b) Provide a copy of the inspection record to the privately owned wastewater treatment system owner or his or her agent; and

(c) Make available to the department upon request his or her inspection records.

(6)  Renewal.
(a)
1. A person may renew his or her certification as a POWTS inspector.

2. A POWTS inspector certification shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a certification as a certified POWTS inspector shall be contingent upon the inspector obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the certification as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a certification as a certified POWTS inspector may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

156. A person who holds a certification issued by the department as a certified ___________________ may inspect privately owned wastewater treatment systems, POWTS, for the purpose of administering and enforcing the provisions of SPS 381 to 387, as an authorized representative of the department or a local governmental unit.

            a. Powts inspector

            b. commercial plumbing inspector

            c. both a & b

            d. neither a or b

157. A person applying to take a POWTS inspector certification examination shall submit all of the following:

a. An application in accordance with SPS 305.01.

b. An application fee and examination fee in accordance with SPS 305.02, Table 305.02.

c. both a & b

            d. neither a or b

158. A person who inspects privately owned wastewater treatment systems as a certified POWTS inspector shall:

            a. Maintain a record of the inspections made including the dates and the findings of the   
inspections;

            b. Provide a copy of the inspection record to the privately owned wastewater treatment system 
owner or his or her agent.

            c. Make available to the department upon request his or her inspection records.

            d. all of the above

---------------------------------------------------------------------------------------------------------------------

Subchapter VII — Mechanical

SPS 305.70 HVAC contractors.
(1)  General.
(a) Except as provided in par. (b), pursuant to s. 101.178 (2), Stats., no person, entity, or business may engage or offer to engage in installing or servicing heating, ventilating, or air conditioning equipment, unless the person, entity, or business holds a registration issued by the department as a registered HVAC contractor.

(b)
1. A person, entity, or business is not required to hold a registration as a registered HVAC contractor to service existing heating, ventilating, air conditioning, or refrigeration equipment within facilities or properties owned by the person, entity, or business.

2. A person, entity, or business is not required to hold a registration as a registered HVAC contractor to install or service heating, ventilating, air conditioning, or refrigeration equipment within a dwelling owned by the person, entity, or business and in which the person, entity, or business resides or will reside.

3. A person, entity, or business is not required to hold a registration as a registered HVAC contractor for electrical or plumbing work associated with the installation or servicing of the HVAC equipment or systems.

Note: Pursuant to federal regulations individuals who install or service HVAC equipment involving ozone-depleting refrigerants are required to hold a Type I, II, III, or Universal technician certification issued in accordance with section 608 of the federal Clean Air Act and title 40 CFR part 82, subpart F.

(2)  Application for registration. A person applying for an HVAC contractor registration shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for registration. The person applying for an HVAC contractor registration shall be the owner of the contracting business, a partner in the contracting business applying on behalf of a partnership, or the chairman of the board or chief executive officer applying on behalf of the contracting corporation.

(4)  Responsibilities. For any HVAC equipment installation that requires a uniform building permit under s. SPS 320.08, a person, entity or business which holds an HVAC contractor registration may not commence installation of HVAC equipment until a permit is issued for the installation.

Note: Chs. SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

Note: Section 101.16 (4) (a), Stats., provides that: The person performing the work of installing equipment utilizing liquefied petroleum gas for fuel purposes shall furnish the user of the equipment a statement, the form of which shall be prescribed by the department showing the design, construction, location, and installation of the equipment conforms with the rules promulgated by the department under this section.

(5)  Renewal.
(a)
1. A person may renew his or her registration as an HVAC contractor.

2. An HVAC contractor registration shall be renewed in accordance with s. SPS 305.07.

(b) A person, entity or business upon expiration of their registration to handle ozone-depleting refrigerants may renew the registration as an HVAC contractor in accordance with s. SPS 305.07.

159. No person, entity, or business may engage or offer to engage in installing or servicing___________, unless the person, entity, or business holds a registration issued by the department as a registered HVAC contractor.


a. heating


b. ventilating

c. air conditioning equipment


d. all of the above

160. A person, entity, or business is not required to hold a registration as a registered HVAC contractor to install or service heating, ventilating, air conditioning, or refrigeration equipment within a dwelling owned by the person, entity, or business and in which the __________ resides or will reside.

a. person


b. entity


c. business


d. all of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.71 HVAC qualifiers.
(1)  General.
(a) Pursuant to s. 101.178 (3), Stats., an individual may obtain in accordance with this section an HVAC qualifier certification from the department relative to the business of installing or servicing heating, ventilating or air conditioning equipment.

(b) A person or entity who utilizes a person who holds an HVAC qualifier certification under this section shall be deemed to be a certified HVAC business and pursuant to s. 101.178 (3) (c), Stats., may not be required to obtain a local certification, license or other approval in order to engage in the business of installing or servicing heating, ventilating or air conditioning equipment.

(2)  Application for examination. A person applying to take HVAC qualifier certification examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination. A person applying for an HVAC qualifier certification examination shall have completed:

(a) At least 1000 hours per year for at least 4 years of experience in supervising or performing the design, installation, servicing or maintenance of HVAC systems or equipment;

(b) At least 4 years of attendance in a school of mechanical engineering or in an accredited college, university, or technical, vocational or apprenticeship school in an HVAC-related program; or

(c) Any combination of 4 years of experience recognized under par. (a) and education recognized under par. (b).

(4)  Examination. A person seeking to obtain an HVAC qualifier certification shall take and pass an examination in accordance with s. SPS 305.09.

(5)  Application for certification. Upon notification of the successful passage of the examination for HVAC qualifier certification, a person may obtain the certification by submitting an application and the certification fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(6)  Responsibilities. For any HVAC equipment installation that requires a uniform building permit under s. SPS 320.08, a person who holds an HVAC qualifier certification may not commence installation of HVAC equipment until a permit is issued for the installation.

Note: Chs. SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

Note: Section 101.16 (4) (a), Stats., provides that: The person performing the work of installing equipment utilizing liquefied petroleum gas for fuel purposes shall furnish the user of the equipment a statement, the form of which shall be prescribed by the department showing the design, construction, location, and installation of the equipment conforms with the rules promulgated by the department under this section.

(7)  Renewal.
(a) A person may renew his or her HVAC qualifier certification.

(b) An HVAC qualifier certification shall be renewed in accordance with s. SPS 305.07.


161. A person or entity who utilizes a person who holds an HVAC qualifier certification under this section shall be deemed to be a certified HVAC business and pursuant to s. 101.178 (3) (c), Stats., may not be required to obtain a local 

 in order to engage in the business of installing or servicing heating, ventilating or air conditioning equipment.


a. certification


b. license 


c. other approval

d. all of the above

---------------------------------------------------------------------------------------------------------------------
Subchapter IX — Plumbing

SPS 305.90 Plumbing.
(1) 
(a) Except as provided under s. 145.06 (4), Stats., and pursuant to s. 145.06, Stats., no person may install plumbing unless the person holds a license or registration issued by the department as a licensed master plumber, licensed master plumber-restricted, licensed journeyman plumber, licensed journeyman plumber-restricted, registered plumbing apprentice, registered plumbing learner-restricted, registered utility contractor or registered pipelayer.

(b)
1. Pursuant to s. 145.14, Stats., the plumbing activities that may be undertaken by a person who holds a license or registration as a licensed master plumber-restricted service, licensed journeyman plumber-restricted service or a registered plumbing learner-restricted service shall be limited to the installation or modification of all of the following:

a. Privately owned wastewater treatment systems and components as defined in ch. SPS 381.

b. Building sewers and private interceptor main sewers as defined in ch. SPS 381.

c. Water services and private water mains as defined in ch. SPS 381.

d. That portion of the drain system or water supply system that connects a building sewer or water service to the connection provided by the manufactured/mobile home manufacturer.

2.
a. The plumbing activities that may be undertaken by a person who holds a license as a licensed master plumber-restricted service type 2 or licensed journeyman plumber-restricted service type 2 shall be limited to the installation or modification of underground drain and vent piping and plumbing delineated under subd. 1.
b. The plumbing activities that may be undertaken by a person who holds a license as a licensed master plumber-restricted service type 3 or licensed journeyman plumber-restricted service type 3 shall be limited to the modification of existing water distribution systems and plumbing delineated under subd. 1.
c. The plumbing activities that may be undertaken by a person who holds a license as a licensed master plumber-restricted service type 4 or licensed journeyman plumber-restricted service type 4 shall be limited to the installation or modification of drain and vent piping to existing drain stacks and vent stacks for the conversion from a private sewage system to municipal sewers and plumbing delineated under subd. 1.
Note: Prior to November 1, 1996, plumber-restricted service licenses were referred to as plumber-restricted sewer licenses and those licenses formerly referred to as plumber-restricted sewer type 1 are now titled plumber-restricted service. Restricted service plumbing licenses types 2 to 4 are no longer available to new applicants. Individuals who currently hold these types of licenses are permitted to renew the licenses and continue to perform the activities under subd. 2. Individuals who hold a journeyman plumber-restricted service type 2 to 4 may seek to obtain the appropriate type of master plumber-restricted service license in accordance with s. SPS 305.92.

3. Pursuant to s. 145.14, Stats., the plumbing activities that may be undertaken by a person who holds a license or registration as a licensed master plumber-restricted appliance, licensed journeyman plumber-restricted appliance, or registered plumbing learner-restricted appliance shall be limited to the installation and modification of water heaters, water softeners, water treatment devices and other items in connection with an existing water supply system which do not require direct connection to the drain system.

4. The plumbing activities that may be undertaken by a person who holds a license or registration as a licensed utility contractor or registered pipelayer shall be limited to the installation or modification of water services, private water mains, building sewers, and private interceptor main sewers.

(2) Pursuant to s. 145.06 (3m), Stats., no person may perform the required testing of cross connection control devices unless the person holds a registration issued by the department as a cross-connection control tester.

(3) A business engaged in the installation of plumbing that utilizes plumbing learners shall maintain a ratio of at least one journeyman plumber or journeyman plumber-restricted for each plumbing learner. For this purpose, a master plumber or master plumber-restricted may act as a journeyman plumber or journeyman plumber-restricted, respectively.

(4) Pursuant to s. 145.09, Stats., a person may be accepted for examination for the appropriate classification of license upon submittal of any of the following:

(a) An application in accordance with s. SPS 305.01, together with the application fee, and examination fee in accordance with s. SPS 305.02, Table 305.02.

(b) A petition for variance documenting evidence of equivalency as provided in s. 145.09 (1m) (a) or (b), Stats., and a petition for variance fee in accordance with s. SPS 305.02 (4).

162. Plumbing activities that may be undertaken by a person who holds a license or registration as a licensed master plumber−restricted service, licensed journeyman plumber−restricted service or a registered plumbing learner−restricted service shall be limited to the installation or modification of all of the following:

            a. Privately owned wastewater treatment systems and components as defined in SPS 381.

            b. Building sewers and private interceptor main sewers as defined in SPS 381.

            c. both a & b

            d. none of the above          

163. Plumbing activities that may be undertaken by a person who holds a license or registration as a licensed master plumber−restricted service, licensed journeyman plumber−restricted service or a registered plumbing learner−restricted service shall be limited to the installation or modification of all of the following:

            a. Water services and private water mains as defined in SPS 381.

b. That portion of the drain system or water supply system that connects a building sewer or water service to the connection provided by the manufactured/mobile home manufacturer.

            c. both a & b

            d. neither a or b

164. The plumbing activities that may be undertaken by a person who holds a license or registration as a _________________ shall be limited to the installation or modification of water services, private water mains, sanitary building sewers, storm building sewers and private interceptor main sewers.

            a. licensed utility contractor

            b. register pipelayer

            c. both a & b

            d. neither a or b

165. A business engaged in the installation of plumbing that utilizes plumbing learners shall maintain a ratio of at least ____ journeyman plumber or journeyman plumber−restricted for each plumbing learner.

            a. 1

            b. 2

            c. 3

            d. 5

166. No person may perform the required testing of cross connection control devices unless the person holds a registration issued by the department as a __________.


a. cross-connection control tester


b. master plumber restricted


c. master plumber appliance


d. master plumber

---------------------------------------------------------------------------------------------------------------------

SPS 305.91 Master plumbers.
(1)  General. A person may obtain a license as a licensed master plumber by taking and passing the master plumber license examination.

(2)  Application for examination. A person applying to take a master plumber license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination. A person applying for a master plumber license examination shall have one of the following qualifications:

(a) At least 1,000 hours of plumbing-related work experience per year for at least 3 years as a licensed journeyman plumber.

(b) Graduated from an accredited engineering university or college with a degree in civil engineering, mechanical engineering or other approved engineering curriculum related to plumbing.

(4)  Examination. A person seeking to obtain a master plumber license shall take and pass an examination in accordance with s. SPS 305.09.

Note: After December 31, 2001, the examination for a master plumber license will include questions relative to the design and installation of multipurpose piping systems.

(5)  Application for license.
(a) Upon notification of the successful passage of the examination for a master plumber license, a person may obtain the license by submitting an application and the license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(b) A person may apply for a license as a licensed master plumber by submitting an application, application fee, and a license fee in accordance with ss. SPS 305.01 and 305.02, Table 305.02.

(6)  Responsibilities.
(a) A person who as a licensed master plumber is responsible for the installation or modification of plumbing shall utilize the appropriately licensed or registered persons to install or modify plumbing.

(b)
1. A person who has obtained his or her master plumber license prior to January 1, 2002 and who is responsible for the installation or modification of a multipurpose piping system shall have completed an approved course in the engineering principles and skills associated with the design, installation and maintenance of multipurpose piping systems prior to installing such a system.

2. A course to fulfill the obligation under subd. 1. shall be approved and conducted in accordance with s. SPS 305.08.

(c) For any plumbing installation that requires a uniform building permit under s. SPS 320.08, a person who holds a master plumber license may not commence installation of plumbing until a permit is issued for the installation.

Note: Chs. SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

(d) For any construction that involves installation or modification of a private onsite wastewater treatment system, a person who holds a master plumber license may not commence installation of plumbing until a sanitary permit is issued for the installation in accordance with s. SPS 383.21.

Note: Section 101.16 (4) (a), Stats., provides that: The person performing the work of installing equipment utilizing liquefied petroleum gas for fuel purposes shall furnish the user of the equipment a statement, the form of which shall be prescribed by the department showing the design, construction, location, and installation of the equipment conforms with the rules promulgated by the department under this section.

(7)  Exchanges.
(a) A person who holds a master plumber license may, upon application to the department, exchange his or her master plumber license for a journeyman plumber license.

(b) A person who has exchanged his or her master plumber license for a journeyman plumber license may, upon application to the department, exchange his or her journeyman plumber license for a master plumber license provided:

1. The person holds a valid journeyman plumber license;

2. The person submits with the application a copy of his or her former master plumber license; and

3. The license fee for a master plumber specified in s. SPS 305.02, Table 305.02 is submitted.

(8)  Renewal.
(a)
1. A person may renew his or her license as a master plumber.

2. A master plumber license shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a license as a master plumber shall be contingent upon the master plumber obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a master plumber may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

167. A person applying to take a master plumber license examination shall submit all of the following:

            a. An application in accordance with SPS 305.01.

            b. An application fee and examination fee in accordance with SPS 305.02, Table 305.02.

            c. both a & b

            d. neither a or b

168. A person applying for a master plumber license examination shall have one of the following qualifications:

            a. At least 1,000 hours of plumbing−related work experience per year for at least 3 years as a 
licensed journeyman plumber.

b. Graduated from an accredited engineering university or college with a degree in civil engineering, mechanical engineering or other approved engineering curriculum related to plumbing.

            c. both a & b

            d. neither a or b

169. A person who has exchanged his or her master plumber license for a journeyman plumber license may, upon application to the department, exchange his or her journeyman plumber license for a master plumber license provided:


a. The person holds a valid journeyman plumber license.

b. The person submits with the application a copy of his or her former master plumber license.

c. The license fee for a master plumber specified in s. SPS 305.02, Table 305.02 is submitted.

d. all of the above

170. A person who as a licensed master plumber is responsible for the ____________________ of plumbing shall utilize the appropriately licensed or registered persons to install or modify plumbing.

            a. installation

            b. modification

            c. both a & b

            d. neither a or b


171. Any construction that involves installation or modification of a private onsite wastewater treatment system, a person who holds a master plumber license may not commence installation of plumbing until a _________ permit is issued for the installation in accordance with s. SPS 383.21.


a. plumbing


b. building


c. sanitary


d. none of the above

172. The renewal of a license as a master plumber shall be contingent upon the master plumber obtaining at least ____ hours of acceptable continuing education prior to the expiration date of the license.


a. 12


b. 18


c. 24


d. none of the above
---------------------------------------------------------------------------------------------------------------------

SPS 305.92 Master plumbers-restricted.
(1)  General. A person may obtain a license as a licensed master plumber-restricted by taking and passing the master plumber-restricted license examination.

(2)  Application for examination. A person applying to take a master plumber-restricted service license examination or master plumber-restricted appliance license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination.
(a) A person applying for a master plumber-restricted service license examination shall have at least 1,000 hours of plumbing-related work experience per year for at least 2 years as a licensed journeyman plumber or a licensed journeyman plumber-restricted service.

(b) A person applying for a master plumber-restricted appliance license examination shall have at least 1,000 hours of plumbing-related work experience per year for at least 2 years as a licensed journeyman plumber or a licensed journeyman plumber-restricted appliance.

(4)  Examination. A person seeking to obtain a master plumber-restricted service or a master plumber-restricted appliance license shall take and pass an examination in accordance with s. SPS 305.09.

Note: After December 31, 2001, the examination for a master plumber-restricted appliance license will include questions relative to the design and installation of multipurpose piping systems.

(5)  Application for license.
(a) Upon notification of the successful passage of the examination for a master plumber-restricted service or master plumber-restricted appliance license, a person may obtain the license by submitting an application and the license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(b) A person may apply for a license as a licensed master plumber-restricted service or a licensed master plumber- restricted appliance by submitting an application, application fee, and a license fee in accordance with ss. SPS 305.01 and 305.02, Table 305.02.

(6)  Responsibilities.
(a) A person who, as a licensed master plumber-restricted service or licensed master plumber-restricted appliance, is responsible for an installation or modification of plumbing shall utilize the appropriately licensed or registered persons to install or modify plumbing.

(c) For any plumbing installation that requires a uniform building permit under s. SPS 320.08, a person who holds a master plumber-restricted appliance license or a master plumber-restricted service license may not commence installation of plumbing until a permit is issued for the installation.

Note: Chs. SPS 320 to 325 apply to one- and 2-family dwellings and manufactured dwellings. The department's uniform building permit is issued either by the municipality in which the dwelling is located or by a UDC inspection agency where the municipality does not administer the Uniform Dwelling Code.

(d) For any construction that involves installation or modification of a private onsite wastewater treatment system, a person who holds a master plumber-restricted service license may not commence installation of plumbing until a sanitary permit is issued for the installation in accordance with s. SPS 383.21.

Note: Section 101.16 (4) (a), Stats., provides that: The person performing the work of installing equipment utilizing liquefied petroleum gas for fuel purposes shall furnish the user of the equipment a statement, the form of which shall be prescribed by the department showing the design, construction, location, and installation of the equipment conforms with the rules promulgated by the department under this section.

(7)  Exchanges.
(a) A person who holds a master plumber-restricted service license or master plumber-restricted appliance license may, upon application to the department, exchange his or her master plumber license for the appropriate journeyman plumber-restricted license.

(b) A person who has exchanged his or her master plumber-restricted license for a journeyman plumber-restricted license may, upon application to the department, exchange his or her journeyman plumber-restricted license for the appropriate master plumber-restricted license provided:

1. The person holds a valid journeyman plumber-restricted license;

2. The person submits with the application a copy of his or her former master plumber-restricted license; and

3. The license fee for a master plumber-restricted license specified in s. SPS 305.02, Table 305.02 is submitted.

(8)  Renewal.
(a)
1. A person may renew his or her license as a master plumber-restricted service or master plumber-restricted appliance.

2. A master plumber-restricted service license and a master plumber-restricted appliance license shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a license as a master plumber-restricted service or master plumber-restricted appliance shall be contingent upon the master plumber obtaining at least 12 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a master plumber-restricted service or master plumber-restricted appliance may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

173. For any construction that involves installation or modification of a private onsite wastewater treatment system, a person who holds a master plumber-restricted service license may not commence installation of plumbing until a _________ permit is issued for the installation in accordance with s. SPS 383.21.


a. building


b. plumbing


c. sanitary


d. none of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.93 Journeyman plumbers.
(1)  General.
(a) The plumbing activities that may be undertaken by a person who holds a license as a licensed journeyman plumber shall be performed under the general supervision of a person who holds a master plumber license, master plumber-restricted license, or utility contractor license.

Note: A journeyman plumber who is working under the general supervision of a licensed master plumber-restricted or licensed utility contractor is limited to the type of plumbing installations associated with the specific license of the person providing the supervision.

(b) A person may obtain a license as a licensed journeyman plumber by taking and passing the journeyman plumber license examination.

(2)  Application for examination. A person applying to take a journeyman plumber license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination. A person applying for a journeyman plumber license examination shall have completed a plumbing apprenticeship program recognized under ch. 106, Stats.

(4)  Examination. Except as provided in sub. (1) (b), a person seeking to obtain a journeyman plumber license shall take and pass an examination in accordance with s. SPS 305.09.

(5)  Application for license.
(a) Upon notification of the successful passage of the examination for a journeyman plumber license, a person may obtain the license by submitting an application and the license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(b) A person may apply for a license as a licensed journeyman plumber by submitting an application, application fee, and a license fee in accordance with ss. SPS 305.01 and 305.02, Table 305.02.

(6)  Renewal.
(a)
1. A person may renew his or her license as a journeyman plumber.

2. A journeyman plumber license shall be renewed in accordance with s. SPS 305.07.

(b)
1. The renewal of a license as a journeyman plumber shall be contingent upon the journeyman plumber obtaining at least 24 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a journeyman plumber may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

174. A journeyman plumber who is working under the general supervision of a licensed master plumber-restricted or licensed utility contractor is limited to the type of plumbing installations associated with the specific license of the person providing the supervision.  

a. true

            b. false

175. The renewal of a license as a journeyman plumber shall be contingent upon the journeyman plumber obtaining at least ____ hours of acceptable continuing education prior to the expiration date of the license.

a. 6


b. 12


c. 18


d. 24

SPS 305.95 Plumbing apprentices.
(1)  General. A person who holds a registration as a registered plumbing apprentice may install or modify plumbing under the general supervision of a person who is a licensed master plumber.

Note: The Department of workforce development, bureau of apprenticeship standards has additional supervision standards for apprentices for the purpose of training and education.

(2)  Application for registration. A person applying for a plumbing apprentice registration to install plumbing shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications. A person applying for plumbing apprentice registration to install plumbing shall be entered into a plumbing apprentice contract recognized under ch. 106, Stats.

(4)  Responsibilities. A person who installs or modifies plumbing as a registered plumbing apprentice may do so if he or she is entered into a plumbing apprentice contract recognized under ch. 106, Stats.

(5)  Renewal.
(a)
1. A person may renew his or her registration as a plumbing apprentice.

2. A plumbing apprentice registration to install plumbing shall be renewed in accordance with s. SPS 305.07.

(b) The renewal of a registration as a plumbing apprentice is contingent upon the person submitting evidence that the person is entered into a plumbing apprentice contract recognized under ch. 106, Stats.

176. A person who holds a registration as a registered plumbing apprentice may install or modify plumbing under the general supervision of a person who is a licensed ______plumber.      

a. master

            b. journeyman

c. both a & b

d. none of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.96 Plumbing learners.
(1)  General.
(a) The plumbing activities that may be undertaken by a person who holds a registration as a registered learner-restricted service shall be performed under the direct supervision of a person who holds a master plumber license, a master plumber-restricted service license, a journeyman plumber license or a journeyman plumber-restricted service license.

(b) The plumbing activities that may be undertaken by a person who holds a registration as a registered learner-restricted appliance shall be performed under the direct supervision of a person who holds a master plumber license, a master plumber-restricted appliance license, a journeyman plumber license or a journeyman plumber-restricted appliance license.

(2)  Application for registration. A person applying for a plumbing learner-restricted service registration or plumbing learner-restricted appliance registration shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for registration. A person applying for a plumbing learner-restricted service registration or plumbing learner-restricted appliance registration to install or modify plumbing shall be at least 16 years old and shall have completed the 12th grade in school or its equivalent.

177. A person applying for a plumbing learner−restricted service registration or plumbing learner−restricted appliance registration to install or modify plumbing shall have completed the ______________ in school or its equivalent.

            a. 8th grade

            b. 12th grade

            c. equivalent to 12th grade

            d. both b & c

---------------------------------------------------------------------------------------------------------------------

SPS 305.97 Utility contractors.
(1)  General. A person may obtain a license as a licensed utility contractor by taking and passing the utility contractor license examination.

(2)  Application for examination. A person applying to take an utility contractor license examination shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and examination fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for examination. The person applying for an utility contractor license examination shall be at least 18 years old.

(4)  Examination. A person seeking to obtain an utility contractor license shall take and pass an examination in accordance with s. SPS 305.09.

(5)  Application for license. Upon notification of the successful passage of the examination for a utility contractor license, a person may obtain the license by submitting an application and a license fee in accordance with ss. SPS 305.01 and 305.09 (7) (c).

(6)  Responsibilities. A person who, as a licensed utility contractor, installs or modifies water services, private water mains, sanitary building sewers, storm building sewers, or private interceptor main sewers shall utilize the appropriately licensed or registered persons to install or modify the plumbing.

(7)  Renewal.
(a) A person may renew his or her license as a utility contractor.

(b) An utility contractor license shall be renewed in accordance with s. SPS 305.07.

(c)
1. The renewal of a license as a utility contractor shall be contingent upon the utility contractor obtaining at least 6 hours of acceptable continuing education prior to the expiration date of the license as specified in s. SPS 305.08 and Table 305.06, except as provided in subd. 2.
2. A person who holds a license as a utility contractor may apply to the department for waiver of the continuing education requirements under subd. 1. on the grounds of prolonged illness or disability or similar circumstances. Each application for waiver shall be considered individually on its merits by the department.

178. A person who holds a license as a licensed utility contractor may install or modify _______.

            a. water services

            b. private water mains

            c. sanitary sewers

            d. all of the above

---------------------------------------------------------------------------------------------------------------------

SPS 305.98 Pipelayers.
(1)  General. Pursuant to s. 145.07 (11), Stats., a person who holds a registration as a registered pipelayer may install or modify water services, private water mains, sanitary building sewers, storm building sewers, or private interceptor main sewers under the general supervision of a licensed utility contractor, licensed master plumber, or a licensed master plumber-restricted service.

(2)  Application for registration. A person applying for a pipelayer registration to install plumbing shall submit all of the following:

(a) An application in accordance with s. SPS 305.01.

(b) An application fee and a registration fee in accordance with s. SPS 305.02, Table 305.02.

(3)  Qualifications for registration. A person applying for a pipelayer registration to install plumbing shall be at least 18 years old.

(4)  Renewal.
(a) A person may renew his or her registration as a pipelayer.

(b) A pipelayer registration shall be renewed in accordance with s. SPS 305.07.

179. A person who holds a registration as a registered pipelayer may install or modify water services, private water mains, sanitary building sewers, storm building sewers, or private interceptor main sewers under the general supervision of a licensed___________________.

            a. utility contractor

            b. master plumber

            c. licensed master plumber−restricted service

            d. any of the above

180. A person applying for a pipelayer registration to install plumbing shall be at least ____ years old.

            a. 16
            b. 17

c. 18


d. 21
	Course # 1 SPS 305 Licensing Quiz Answer Sheet

	

	
	
	
	
	
	

	1
	  a   b   c   d
	41
	  a   b   c   d
	81
	  a   b   c   d

	2
	  a   b   c   d
	42
	  a   b   c   d
	82
	  a   b   c   d

	3
	  a   b   c   d
	43
	  a   b   c   d
	83
	  a   b   c   d 

	4
	  a   b   c   d
	44
	  a   b   c   d
	84
	  a   b   c   d

	5
	  a   b   c   d
	45
	  a   b   c   d
	85
	  a   b   c   d

	6
	  a   b   c   d
	46
	  a   b   c   d
	86
	  a   b   c   d

	7
	  a   b   c   d
	47
	  a   b   c   d
	87
	  a   b   c   d

	8
	  a   b   c   d
	48
	  a   b   c   d
	88
	  a   b   c   d

	9
	  a   b   c   d
	49
	  a   b   c   d
	89
	  a   b   c   d

	10
	  a   b   c   d
	50
	  a   b   c   d
	90
	  a   b   c   d

	11
	  a   b   c   d
	51
	  a   b   c   d
	91
	  a   b   c   d

	12
	  a   b   c   d
	52
	  a   b   c   d
	92
	  a   b   c   d

	13
	  a   b   c   d
	53
	  a   b   c   d
	93
	  a   b   c   d

	14
	  a   b   c   d
	54
	  a   b   c   d
	94
	  a   b   c   d

	15
	  a   b   c   d
	55
	  a   b   c   d
	95
	  a   b   c   d

	16
	  a   b   c   d
	56
	  a   b   c   d
	96
	  a   b   c   d

	17
	  a   b   c   d
	57
	  a   b   c   d
	97
	  a   b   c   d

	18
	  a   b   c   d
	58
	  a   b   c   d
	98
	  a   b   c   d

	19
	  a   b   c   d
	59
	  a   b   c   d  
	99
	  a   b   c   d

	20
	  a   b   c   d
	60
	  a   b   c   d  
	100
	  a   b   c   d

	21
	  a   b   c   d
	61
	  a   b   c   d  
	101
	  a   b   c   d

	22
	  a   b   c   d
	62
	  a   b   c   d 
	102
	  a   b   c   d

	23
	  a   b   c   d
	63
	  a   b   c   d  
	103
	  a   b   c   d

	24
	  a   b   c   d
	64
	  a   b   c   d  
	104
	  a   b   c   d

	25
	  a   b   c   d
	65
	  a   b   c   d
	105
	  a   b   c   d

	26
	  a   b   c   d
	66
	  a   b   c   d
	106
	  a   b   c   d

	27
	  a   b   c   d
	67
	  a   b   c   d
	107
	  a   b   c   d

	28
	  a   b   c   d
	68
	  a   b   c   d
	108
	  a   b   c   d

	29
	  a   b   c   d
	69
	  a   b   c   d 
	109
	  a   b   c   d

	30
	  a   b   c   d
	70
	  a   b   c   d  
	110
	  a   b   c   d

	31
	  a   b   c   d
	71
	  a   b   c   d  
	111
	  a   b   c   d

	32
	  a   b   c   d
	72
	  a   b   c   d  
	112
	  a   b   c   d

	33
	  a   b   c   d
	73
	  a   b   c   d  
	113
	  a   b   c   d

	34
	  a   b   c   d
	74
	  a   b   c   d  
	114
	  a   b   c   d

	35
	  a   b   c   d
	75
	  a   b   c   d
	115
	  a   b   c   d

	36
	  a   b   c   d
	76
	  a   b   c   d
	116
	  a   b   c   d

	37
	  a   b   c   d
	77
	  a   b   c   d
	117
	  a   b   c   d

	38
	  a   b   c   d
	78
	  a   b   c   d
	118
	  a   b   c   d

	39
	  a   b   c   d
	79
	  a   b   c   d
	119
	  a   b   c   d

	40
	  a   b   c   d
	80
	  a   b   c   d
	120
	  a   b   c   d

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	Course # 1 SPS 305 Licensing Quiz Answer Sheet

	

	
	
	
	
	
	

	121
	  a   b   c   d
	141
	  a   b   c   d
	161
	  a   b   c   d

	122
	  a   b   c   d
	142
	  a   b   c   d
	162
	  a   b   c   d

	123
	  a   b   c   d
	143
	  a   b   c   d
	163
	  a   b   c   d

	124
	  a   b   c   d  
	144
	  a   b   c   d
	164
	  a   b   c   d

	125
	  a   b   c   d
	145
	  a   b   c   d
	165
	  a   b   c   d

	126
	  a   b   c   d  
	146
	  a   b   c   d  
	166
	  a   b   c   d

	127
	  a   b   c   d  
	147
	  a   b   c   d
	167
	  a   b   c   d

	128
	  a   b   c   d
	148
	  a   b   c   d
	168
	  a   b   c   d

	129
	  a   b   c   d
	149
	  a   b   c   d
	169
	  a   b   c   d

	130
	  a   b   c   d  
	150
	  a   b   c   d
	170
	  a   b   c   d

	131
	  a   b   c   d
	151
	  a   b   c   d
	171
	  a   b   c   d

	132
	  a   b   c   d
	152
	  a   b   c   d
	172
	  a   b   c   d

	133
	  a   b   c   d
	153
	  a   b   c   d
	173
	  a   b   c   d

	134
	  a   b   c   d
	154
	  a   b   c   d
	174
	  a   b   c   d

	135
	  a   b   c   d  
	155
	  a   b   c   d
	175
	  a   b   c   d

	136
	  a   b   c   d
	156
	  a   b   c   d
	176
	  a   b   c   d

	137
	  a   b   c   d
	157
	  a   b   c   d
	177
	  a   b   c   d

	138
	  a   b   c   d
	158
	  a   b   c   d
	178
	  a   b   c   d

	139
	  a   b   c   d
	159
	  a   b   c   d
	179
	  a   b   c   d

	140
	  a   b   c   d  
	160
	  a   b   c   d
	180
	  a   b   c   d


To obtain your Continuing Education Credits follow the below instructions. 

1. Print out first.

2. Fill in all fields applicable.

3. Include your certification or license number.

4. We’ll take care of crediting with the state and mailing back to you the quiz results. 

 Send by mail 

1. Answer sheets and below form.



Fees: $50.00

2. Fill out this form below completely.

3. Applicable fees by check payable to our business name: GaryKlinka.com
4. Mail to: GaryKlinka.com at 1316 Cardinal Circle, Neenah, WI 54956 

Live Support at 920-381-6714 or email tmklinka@hotmail.com  

-----------------------------------Educational Course Attendance Verification Form ------------------------------

Attendee’s Name                                                                                 Date                  


 
Address                                                                                                                                                  
 
Credential Number                                                       Phone#                                     


 
Course Title and Name     SPS 305 Const Quiz & part of 12 hour Initial DCQ 8857 & 9000 & 9001 
 
 List each credential held by attendee       









                                                       

                     Credited Hours                    6 hrs                        
Email address                                             

                                      Fax#                                       
 -----------------------------------------------------------------------------------------------------------------------------

To be completed by GaryKlinka.com                

 

Course Password                                  
           Course ID# 8855-DCQ or 8835-UCI or 8794 MHI  

 

Attendee passed the course with a greater than 70% score on Date          




 

Instructor Signature                                                           







